## 1. General
Tehnilise kirjelduse üldinfo / General info of the technical requirements description
Hanke nimi/ Title of the procurement | Skidomeeter | Skidometer
Hanke viitenumber / Procurement reference number | 269482
Hanke osa nimi / Procurement lot name | Teisaldatav lennuraja hõõrdeteguri mõõtja | Mobile runway friction tester
Hanke osa nr / Procurement lot number | 2
Hanke põhiobjekt ja lühikirjeldus / Main object of the procurement and short description | Sõiduki haakeseadmega ühendatav mõõteseade koos juhtpaneeli ja tarkvaraga. | Measuring device attachable to vehicle tow hitch, its command and controls and software
Hanke lisaobjektid ja lühikirjeldused / Additional procurement objects and descriptions | Mõõteseadme varuosad, remont ja hooldus. | Measurement device spare parts, maintenance and repair service.
Hanke eesmärk / Purpose of the procurement | Lennuraja hõõrdeteguri mõõtja ja varuosade soetamine koos remondi ja hoolduse teostamisega vähemalt garantiiaja jooksul. | Purchases of runway friction tester with possible spare parts, maintenance and repair service for at least the endurance of warranty.
Lisainfo / Additional info | Üleandmine ja vastuvõtmine toimub Hankija asukohas Ämari Lennubaasis. | Handover and acceptance is done at the Procurers location at the Ämari Airbase.
| Juhul kui Pakkumuse esitamiseks on Pakkujal vaja tutvuda hankeeseme jooniste, dokumentide ja asukohtadega, korraldab Hankija infopäeva või lepitakse Pakkujatega eraldi kokku. | In case the Tenderer requires to familiarize their self with procurement objects drawings, documentation and locations to compose the tender, the Procurer arranges information sharing event or the familiarization is agreed by other means.
Juhised täitjale / Instructions to Tenderer
Pakkuja sisestab info kollase taustaga lahtritesse / Tenderer inserts information into cells with yellow fill.
"Pakutava toote/teenuse täpne kirjeldus või väärtus vastavalt nõude kirjeldusele" lahtris, kirjeldab Pakkuja kuidas nõude täidab ja/või annab vastava arvväärtuse. / "The exact description or value of the product/service offered according to the description of the requirement" cell is filled by the Tenderer with description of how the requirement is met and/or inserts compliant numerical value.
"Viide seotud dokumendile, veebilehele" lahtris viitab Pakkuja dokumendile, dokumendi leheküljele, ettevõtte veebileheküljele või samaväärse lahenduse veebileheküljele. / "Reference to the document, web page" cell is filled by the Tenderer with reference to the document and page number, product webpage or equivalent solutions webpage.
"Pakkuja poolsed kommentaarid" lahtrisse võib lisada täiendavat infot nõude täitmise ja vastavuse kontrolli kohta, küsimused Hankijale, alternatiivsed lahendused jms. / "Comments by the tenderer" cell may be filled with additional information regarding the compliance of the requirement, compliance check method, questions to the Procurer, alternative solutions etc.
Käesolevas tehniliste nõuete kirjelduses(edaspidi TK) on välja toodud vähimad nõuded, mille pakutavad Seadmed peavad täitma. / Following technical requirement description(hereinafter as TRD) describes the minimum requirements of which the proposed product/service is to fulfil.
Nõuete täitmisel, mis ei ole selgelt reguleeritud, lähtutakse valdkonna parimatest tavadest. / Industry best practice principles to follow in cases not clearly regulated.

## 2. Table of Contents
Töölehe nimetus / Worksheet lable |  | Jaotise nimetus / Paragraph | Hyperlink
1. | Üldinfo / General |  | General info
2. | Sisukord / Table of Contents |  | -
3. | Teenuse või toote kirjeldus / Description of the object | 1. Võimekuste nõuded | Capability_requirements
|  | 2. Üldised nõuded | General_requirements
4. | Tehnilised nõuded / Technical specifications | 3. Kasutuskeskkonna tingimused | Operating_environment
|  | 4. Värvid ja markeeringud | Coating_and_marking_requirements
|  | 5. Nõuded mõõtmisseadmetele | Measuring_equipment_requirements
5. | Standardid ja normatiivid / Standards & regulations | 6. Riiklikud ja rahvusvahelised määrused | National_and_international_regulations
|  | 7. Riiklikud ja rahvusvahelised standardid | National_and_international_standards
6. | Logistiline toetus / Logistics | 8. Üleandmine | Delivery
|  | 9. Varuosad | Spare_parts
|  | 10. Nõuded dokumentatsioonile | Documentation_requirements
|  | 11. Kasutajakoolitused | User_training_requirements
|  | 12. Nõuded garantii teenusele | Warranty_service_requirements

## 3. Description of the object
Nõude number / Requirement number | Nõude kirjeldus | Requirement description | Pakutava toote/teenuse täpne kirjeldus või väärtus vastavalt nõude kirjeldusele / The exact description or value of the product/service offered according to the description of the requirement | Viide seotud dokumendile, veebilehele / Reference to the document, web page | Vastavuse kontrolli meetod | Verification method | Vastavuse kontrolli kirjeldus | Verification method description | Pakkuja poolsed kommentaarid / Comments by the tenderer
1. | Võimekuste nõuded | Capability requirements
1.1 | Lennuraja hõõrdeteguri mõõtja(edaspidiselt seadmed) peab aastaringselt olema võimeline lennuväljal teostama vähemalt järgmiseid ülesandeid: | Runway friction tester(hereinafter as equipment) is capable to perform on the airfield all year round at least following tasks: | The Skiddometer BV 11 is designed to perform friction measurements on runway around the year on different weather conditions. | Technical Specification BV11, page 1, section 1.1, Mode of measurement | Tõend | Certificate | Pakkuja esitab dokumendi mõõtmismeetodi kirjeldusega | Tenderer presents document describing measurement process
1.1.1 | lennuraja ulatuses mõõta kuiva rajakatte hõõrdetegurit, | measure friction coefficient of the runway surface area in dry conditions, | The Skiddometer BV 11 VI is designed for continuous measuring of the friction coefficient on runway surfaces. It can be used for operational measuring friction when runway is dry. | Technical Specification BV11, page 1, section 1.1, Mode of measurement | Tõend | Certificate | Pakkuja esitab dokumendi mõõtmismeetodi kirjeldusega | Tenderer presents document describing measurement process
1.1.2 | lennuraja ulatuses mõõta märja rajakatte hõõrdetegurit, | measure friction coefficient of the runway surface area in wet conditions, | The Skiddometer BV 11 VI is designed for continuous measuring of the friction coefficient on runway surfaces. It can be used for operational measuring friction when runway is wet. | Technical Specification BV11, page 1, section 1.1, Mode of measurement | Tõend | Certificate | Pakkuja esitab dokumendi mõõtmismeetodi kirjeldusega | Tenderer presents document describing measurement process
1.1.3 | lennuraja ulatuses mõõta lumise rajakatte hõõrdetegurit, | measure friction coefficient of the runway surface area in snow conditions | The Skiddometer BV 11 VI is designed for continuous measuring of the friction coefficient on runway surfaces. It can be used for operational measuring friction with ice, snow or slush etc. is on the runway. | Technical Specification BV11, page 1, section 1.1, Mode of measurement | Tõend | Certificate | Pakkuja esitab dokumendi mõõtmismeetodi kirjeldusega | Tenderer presents document describing measurement process
1.1.6 | lennuraja operatiivseid mõõtmisi õhusõidukite ohutu liikluse võimaldamiseks. | runway surface operational measurements to determine safe traffic conditions. | The Skiddometer BV 11 VI is designed for continuous measuring of the friction coefficient on runway surfaces. It can be used for maintenance friction measuring with self-wetting system for checking rubber build-up and texture, as described by ICAO/FAA/EASA/etc.) | Technical Specification BV11, page 1, section 1.1, Mode of measurement | Tõend | Certificate | Pakkuja esitab dokumendi mõõtmismeetodi kirjeldusega | Tenderer presents document describing measurement process
2. | Üldised nõuded | General requirements
2.1 | Seadmed koos varustusega peavad vastama kõikidele kehtivatele nõuetele ja standarditele, mis laienevad riigihanke objektile. | The Equipment and its equipment must comply with corresponding standards and regulations applicable to procurement item. | Accordance with regulations issued by authorities such as the ICAO, EASA and FAA. Listed in ICAO Airport Services Manual, EASA NPA, FAA approved CFME list and other national publications. CE marked. | Technical Specification BV11, page 1, section 1.2, Approving | Kinnituskiri | Confirmation | Pakkuja esitab samaväärse toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers | Nearest trailer products can be seen at Tallinn Airport where they have 3pcs of Skiddometer BV11.
2.2 | Tarnitud seadmed peavad olema terviklikud ja kasutusvalmis, kõik tööriistad ja tarvikud peavad asuma neile ettenähtud kohtades ning transpordipakend ja ebavajalikud sildid peavad olema eemaldatud. | The Equipment is delivered in complete and ready to use condition, all the tools and accessories are located in their designated places, transport packaging and unnecessary labelling removed. | The equipment will be delivered complete and ready to operate, with transport packaging and unnecessary labelling removed and additional tools and accessories on their designed places. | Technical Specification BV11, page 6, section 6, Delivery | Kinnituskiri | Confirmation | Pakkuja esitab samaväärse toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
2.3 | Koos seadmetega tuleb tarnida niiskuskindlasse kilekotti suletud eesti- ja ingliskeelne dokumentatsioon paberkandjal ning andmekandjal koos digitaalsete failidega. | Documentation in Estonian and English including delivery of digital files, sealed in a moisture-proof plastic bag shall be delivered with the vehicle. | Complete operation, maintenance and spare-part manuals, in English and Estonian, delivered with each unit. The documentation will be delivered in a hardcopy and as digital files, sealed in moisture proof, plastic bag. Network diagram of functions included. | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab samaväärse toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
2.4 | Seadmete kleebised, sildid, märgid, lülitid, juhtseadmed, näidikud, kasutusjuhised jms. tähistus peab olema eesti keeles. | Estonian language shall be used on equipment decals, labels, signs, switches, controls, displays, operating instructions etc. markings. | Exact labelling can be agreed and done in Estonian language, where possible. Markings are done using Si-units. | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab samaväärse toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
2.5 | Instrumentide kalibreerimine ning juhtseadiste, lülitite, hoiukohtade või muude asukohtade tähistus ja/või märgistus peab olema Si-ühikutes ja võimalusel eesti keeles. | The calibration of instruments and the labelling or marking of controls, switches, lockers or other locations shall be in the Si-units and in the Estonian language where possible. | Exact labelling can be agreed and done in Estonian language, where possible. Markings are done using Si-units. | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab samaväärse toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
2.6 | Seadmed peavad olema kasutamata, tootmisaasta mitte varem kui tellimusele eelnev aasta. | The delivered equipment must be unused, date of production not older than previous year prior to order. | The equipment shall be unused, and the date of production shall not be older than previous year, prior to order. | Technical Specification BV11, page 6, section 6, Delivery | Kinnituskiri | Confirmation | Pakkuja esitab samaväärse toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
2.7 | Pakkuja korraldab sõiduki registreerimise riiklikus autoregistris ja/või Kaitseväe sõidukite registris. | Tenderer arranges the vehicle to be registered in national vehicle register and/or in the register of the vehicles of Defence Forces. | Trailer (WMS) can be registered in Estonia. | Technical Specification WMS | Kinnituskiri | Confirmation | Pakkuja esitab referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
Back to contents

## 4. Technical specifications
Nõude number / Requirement number | Nõude kirjeldus | Requirement description | Pakutava toote/teenuse täpne kirjeldus või väärtus vastavalt nõude kirjeldusele / The exact description or value of the product/service offered according to the description of the requirement | Viide seotud dokumendile, veebilehele / Reference to the document, web page | Vastavuse kontrolli meetod | Verification method | Vastavuse kontrolli kirjeldus | Verification method description | Pakkuja poolsed kommentaarid / Comments by the tenderer
3. | Kasutuskeskkonna tingimused | Operating environment
3.1 | Seadmed peavad töötama ilma täiendavate muudatusteta: | Equipment shall be operational without additional modifications in the: | No special preparations are needed before measuring, always ready to work. | Technical Specification BV11, page 2, section 2.1, Handling | Tõend | Certificate | Pakkuja esitab katsetuste protokolli või muu asjassepuutuva dokumendi, mis kinnitab seadmete ilmastikukindlust. | Tenderer presents confirmed test results or applicable documents confirming the compliance of the requirement.
3.2 | temperatuuri vahemikus –30 kuni +40 °C, | temperature range –30 to +40 °C, | Operating temperature -45 to +40 Celsius | Technical Specification BV11, page 5, section 3.11, Operating temperature | Tõend | Certificate | Pakkuja esitab katsetuste protokolli või muu asjassepuutuva dokumendi, mis kinnitab seadmete ilmastikukindlust. | Tenderer presents confirmed test results or applicable documents confirming the compliance of the requirement.
3.3 | tolmus ja vihmas vähemalt IP 43 standardile vastavalt, | dust and rain at least to IP 43 standard. | Skiddometer BV11 is compliant with IP43 standard | Technical Specification BV11, page 5, section 3.13, IP-classification | Tõend | Certificate | Pakkuja esitab katsetuste protokolli või muu asjassepuutuva dokumendi, mis kinnitab seadmete ilmastikukindlust. | Tenderer presents confirmed test results or applicable documents confirming the compliance of the requirement.
4. | Värvide ja markeeringute nõuded | Coating and marking requirements
4.1 | Märgistuses ja/või kasutusjuhistes võib kasutada sümboleid ja jooniseid. | Labelling and user instructions can be pictograms and drawings. | Labelling and user instructions do include drawing and pictograms for easy operation. | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
4.2 | Siltide täpne kujundus ja asukoht tuleb enne paigaldamist Tellijaga kooskõlastada. | Exact design, size and location of labelling must be coordinated with the contracting authority prior to the application. | Exact labelling can be agreed and done in Estonian language, where possible. Markings are done using Si-units. | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
4.3 | Seadmed värvitakse väävelkollaseks RAL või samaväärse standardi tooni 1016. | The equipment shall be painted sulphur yellow RAL or equivalent standard tone 1016. | The equipment will be painted yellow, colour-code RAL2023, RAL2016 would mean additional costs and delays on spare parts versus the used standard colour-code is RAL2023. | Technical Specification BV11, page 6, section 6, Delivery | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
4.4 | Alumiiniumist, roostevabast ja plastik materjalist luugid, seadmed ja ühendused jäetakse värvimata kui on vastupidavad korrosioonile ja UV kiirgusele. | Aluminum, stainless steel and plastic material hatches, equipment and connections are not painted if they are corrosion and UV radiation resistant. | The paintwork of the equipment is done so, that the aluminum, stainless steel and plastic material hatches, equipment or connections are not painted if they are corrosion and UV-resistant. | Technical Specification BV11, page 6, section 6, Delivery | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
4.5 | Vanuse, äärmuslike kliimatingimuste või kuumuse mõjul kilduvad, pragunevad või kihistuvaid kaitsekatteid ei tohi kasutada. | Protective coatings that chip, crack, or scale with age or extremes of climatic conditions or when exposed to heat shall not be used. | The equipment is painted using materials and methods suitable for extreme climatic conditions. | 4.5 Painting certificate | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5. | Nõuded mõõtmisseadmele | Measuring equipment requirements
5.1 | Seade vastab Rahvusvahelise Lennundusorganisatsiooni(ICAO) Doc 9137 Airport service manual Part 2, peatükk 5. nõuetele. | Equipment complies with International Civil Aviation Organization(ICAO)9137 Airport service manual Part 2, chapter 5 requirements. | Accordance with regulations issued by authorities such as the ICAO, EASA and FAA. Listed in ICAO Airport Services Manual | Technical Specification BV11, page 1, section 1.2, Approving | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.2 | Seade vastab Ameerika materjalide testimise ühingu(ASTM) pidevalt hõõrduvust mõõtva seadme(CFME) standardi E2340 nõuetele. | Equipment complies with American Society for Testing of Materials(ASTM) continuous friction measuring equipment (CFME) standard E2340 requirements. | Skiddometer BV11 does comply with ASTM E2340 standard for continuous friction measuring equipment (CFME). | Technical Specification BV11, page 1, section 1.2, Approving | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.3 | Seadme töörežiimiks on pidev hõõrdeteguri mõõtmine liikumisel mööda testitavat sillutist (rada) | Equipment works on continuous friction coefficient measuring mode while operated on surfaces. | The Skiddometer BV 11 is designed for continuous measuring of the friction coefficient on runway surfaces. | Technical Specification BV11, page 1, section 1.1, Mode of Measurement | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.4 | Hõõrdeteguri koefitsiendi ulatus peab olema 0-st kuni 1,0-ni (ICAO Doc 9137) | Friction coefficient value range is displayed in between 0 to 1,0 (ICAO Doc 9137). | Range of friction coefficient is 0-1,0. | Technical Specification BV11, page 3, section 2.4, Presentation of the measurement results | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.5 | Mõõtmist on võimalik teostada vähemalt kiiruse vahemikus 40 kuni 130 km/h | Measuring is allowed in speed range of at least 40 to 130 km/h. | Measuring speed range 20-130km/hour. | Technical Specification BV11, page 2, section 2.2, Travel speed of the Skiddometer | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.6 | Seade on ühendatav või järelveetav sõiduki ISO 1103 või samaväärsele standardile vastava 50 mm kuultüüpi haakeseadme kaudu. | Equipment is connected or towed by the vehicle via ISO 1103 or equivalent standard 50 mm ball hitch. | EU standard 50mm trailer hitch | Technical Specification BV11, page 5, section 3.12, Connection | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.7 | Seadme elektriühendus sõidukiga on ISO 11446 või samaväärse standardi nõuetele vastava 12 V ühenduse kaudu. | Equipment electrical connection is connected to the towing vehicle via ISO 11446 or equivalent standard 12 V connection. | Connection between towing vehicle and WMS trailer is according to ISO11446. Communication from friction tester to computer is by special protected cable with 12V power output from towing vehicle. | Technical Specification WMS, page 2, section 1.7, Electrics | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.8 | Seadmel on akusüsteem, mida on võimalik laadida 12 V kui ka 230 V vooluvõrgust. | Equipment has it`s own battery system that can be charged from 12 V or 230 V power supply. | Battery system can be charged from 230V power supply | Technical Specification BV11, page 4, section 3.9, Power Source | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.9 | Juhul kui mõõteseade on sõidukiga ühendataval haagisel, on haagisel vähemalt: | In case towable trailer is used to mount the measurement equipment: | This is a WMS option, a trailer where equipment can be attached. | Technical Specification WMS | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.9.1 | kiiruse ja koormusnäitajate poolest vastavad M+S rehvid, | the tires of the trailer are M+S type and comply with speed and load characteristics. | 185 R14C-104 (M+S) | Technical Specification WMS, page 2, section 1.6, Chassis | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.9.2 | haagis vastab UNECE O-kategooria sõiduki nõuetele. | the trailer comply with the requirements of UNECE category O vehicle. | UNECE category O2-vehicle | Technical Specification WMS, page 1, section 1.2, Approving | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.10 | Seadme mõõteratast on võimalik tuua transpordiasendisse, mis võimaldab sõidukit kasutada ka Lennubaasi territooriumil liiklemiseks. | Equipment measuring wheel can be stowed to transport position enabling the vehicle to be used for other tasks on the Airbase. | Yes, measuring wheel can be lifted to transport position when not measuring. | Technical Specification BV11, page 2, section 2.1, Handling | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.11 | Mõõterattal on T520 Unitester tüüpi rehv. | Measurement wheel has T520 Unitester type tire with dimensions 4.00-8". | Skiddometer measuring tyres fit to the rim of size 4.00 x 8" | Technical Specification BV11, page 4, section 3.4, Tyres | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.12 | Seade peab olema võimeline automaatselt ja püsivalt salvestama hõõrdeteguri mõõtetulemusi ja väljendama neid tabeli kujul, graafiliselt ja värvikoodidega kaardil. | Equipment can store measurement data automatically and present friction coefficient values in table form and multicolored graphics on a runway map. | The data is presented on table form and on multicoloured graphics based on the used standard. The measurements are saved to the computers internal memory. | Technical Specification BV11, page 3, section 2.4, Presentation of the measurement results | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.13 | Seadmel on GPS-süsteem, mis võimaldab mõõtmistulemusi kuvada elektroonilisel kaardil nt. Google maps`il. | Equipment uses GPS which allows data to be displayed on electronical Google Maps format. | The friction values and the driven path is shown on a map format. | Technical Specification BV11, page 3, section 2.4, Presentation of the measurement results | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.14 | Mõõtmistulemused kuvatakse kaardil mõõtmisteekonnale hõõrdeteguri koefitsiendist lähtuva värvikoodiga. | Measurement results are displayed on a map along the driven path and color coded as per friction coefficient values. | The presentation on the map does have a color coding based on the friction coefficient values. | Technical Specification BV11, page 3, section 2.4, Presentation of the measurement results | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.15 | Mõõteraportit peab olema võimalik edastada elektrooniliselt üle mobiilse andmeside ühenduse. | Measurement report can be forwarded electronically over mobile data network. | Yes, data can be forwarded electrically over mobile network. | Technical Specification BV11, page 3, section 2.4, Presentation of measurement results | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.16 | Mõõteraportit peab olema võimalik salvestada mälupulgale või välisele kõvakettale DDF ja XML formaadis. | Measurement report can be stored on a USB or other external data storage unit in PDF or CSV and XML format. | OK, PDF and csv. are possible. | Technical Specification BV11, page 3, section 2.4, Presentation of measurement results | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.17 | Seadme juhtpaneeli saab kasutada vedava sõiduki juht istekohalt ka sõidu ajal. | Equipment controls can be operated from towing vehicle drivers seat while driving along the path. | Skiddometer is operated by one person from the driver's seat of the vehicle. | Technical Specification BV11, page 2-3, section 2.3, Computer system of the Skiddometer | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.18 | Mõõtetulemusi peab olema võimalik jälgida juhi istmelt reaalajas arvuti kuvarilt. | Measurement results can be monitored from drivers position in real time. | Yes, measurement results can be monitored from tablet during the measurement. | Technical Specification BV11, page 2-3, section 2.3, Computer system of the Skiddometer | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.19 | Seadme arvutile ja mõõtmisprogrammile peab olema võimalik lisada kasutajakoode, et vältida kõrvaliste isikute pääs arvutisse ning säilitada tegevuste logi. Kõik mõõtmiste ja kalibreerimiste ajalugu peab sisaldama kasutajate koode. | Equipment has multiple user options with separate passkeys and system logs. All measurement data and history is associated with user accounts. | Yes, it's possible to add users, with their own credentials. The user who has done the measurement will be saved on the friction run results as well. | Technical Specification BV11, page 2, section 2.3, Computer system of the Skiddometer | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.20 | Mõõtmisel peab olema ära näidatud vähemalt järgmised andmed: 1. mõõtmise kuupäev, 2. kellaaeg, 3. lennuvälja nimi, 4. raja suund, 5. mõõdetava ala pikkus, 6. keskmine kiirus mõõtmisel, 7. mõõtmise teostanud isiku nimi või kood, 8. hõõrdeteguri väärtus iga 150 m järel, 9. hõõrdeteguri madalaim, keskmine ja kõrgeim väärtus mõõtesõidu mõlemal suunal, 10. hõõrdeteguri madalaim, keskmine ja kõrgeim väärtus kogu mõõtesõidu jooksul, 11. hõõrdeteguri madalaim, keskmine ja kõrgeim väärtus iga mõõtesõidu kolmandiku kohta. | Measurement equipment must display at least the following data: 1. measurement date, 2. time in 24 h format, 3. airfield name, 4. direction of runway, 5. distance of measured path, 6. average speed during measurement, 7. measurers name or user identification, 8. friction coefficient value for every 150 m distance, 9. for both measurement run direction lowest, average and highest friction coefficient value, 10. total measurement run lowest, average and highest friction coefficient value, 11. every third of the measurement run lowest, average and highest friction coefficient value. | The measuring report is presented in a tablet computer display as well as can be printed on paper indicating name of airport, ICAO code, date, time, temperature and the runway code number. The presentation of averages can be selected by the user, 100m, 150m, 200m, 250m, 300m. On runway type measuring, the averages are also given after every third of the runway length. With the exported data, friction readings are for every 1m. This data can be analysed easily to get any reading needed. | Technical Specification BV11, page 3, section 2.4, Presentation of the measurement results | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.21 | Seade teostab vähemalt 5500 m pikkuse pideva mõõtmise. | Equipment is operable for continuous measurement run of at least 5500 m. | With the 1250 litres sized tank a length of over 15 kilometres can be measured on one go. Without watering system, max 20km runs can be measured continuously. | Technical Specification BV11, page 4-5, section 3.10, Self-wetting system | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.22 | Seadmel on valmidus ühendada iseniisutavat veesüsteemi (veepaak, pump ja pihustusdüüs) imiteerimaks sadeveega kaetud mõõdetavat pinda. | Equipment has readiness to operate a surface prewetting system (water tank, pump, nozzles, connections etc.) to conduct wet surface measurements. | Self-wetting system can be equipped to Skiddometer BV11 including pump, water nozzle and tank. | Technical Specification BV11, page 4-5, section 3.10, Self-wetting system | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
5.23 | Seade ei tohi vajada regulaarset kalibreerimist ennem kasutamist, arvuti-süsteem peab pakkuma automaatset kalibreerimist ja kontrolli. Kui kalibreerimine osutub vajalikuks, siis kalibreerimine peab olema teostatav vaid ühe inimese poolt ja kalibreerimisprotsess ei tohi võtta aega rohkem kui 5 minutit. | Equipment must not require calibration prior to every operation, system self check and calibration option is installed. In case calibration is required it can be done by one person during 5 min operation. | The Skiddometer does not require regular calibration before use, the computer system is auto zeroed after power is switched on. The validity of existing calibration can be checked by “calibration check” function. Time to perform this is approx. 2-3min. | Technical Specification BV11, page 3, section 2.5, Calibration | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
Back to contents

## 5. Standards & Regulations
Nõude number / Requirement number | Nõude kirjeldus | Requirement description | Pakutava toote/teenuse täpne kirjeldus või väärtus vastavalt nõude kirjeldusele / The exact description or value of the product/service offered according to the description of the requirement | Viide seotud dokumendile, veebilehele / Reference to the document, web page | Vastavuse kontrolli meetod | Verification method | Vastavuse kontrolli kirjeldus | Verification method description | Pakkuja poolsed kommentaarid / Comments by the tenderer
6. | Riiklikud ja rahvusvahelised määrused | National and international regulations
6.1 | Sõiduk peab vastama kaitseministri 21.10.2015 määrus nr 25 „Kaitseväe ja Kaitseliidu mootorsõiduki ning haagise tehnonõuded ja varustuse nõuded ning tehnonõuetele vastavuse kontrollimise kord“ nõuetele. | Vehicle comply with the requirements of Ministry of Defence 21.10.2015 act no 25 „Kaitseväe ja Kaitseliidu mootorsõiduki ning haagise tehnonõuded ja varustuse nõuded ning tehnonõuetele vastavuse kontrollimise kord“. | OK |  | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
6.2 | Sõiduki rehvid vastavad Ühinenud Rahvaste Organisatsiooni Majanduskomisjoni (UNECE) eeskiri nr. 117 nõuetele. | Vehicle tires comply wit the requirements of Economic Commission for Europe of the United Nations (UNECE) Regulation no. 117. | 185 R14C-104 (M+S) | Technical Specification WMS, page 2, section 1.6, Chassis | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
7. | Riiklikud ja rahvusvahelised standardid | National and international standards
7.1 | Sõiduk ja mõõteseade peavad tagama NATO standardi STANAG 3634 Ed.5 LENNURAJA HÕÕRDETEGURI JA PIDURDAMISTINGIMUSTE MÄÄRAMINE kehtestatud mõõdistuste teostamise võimekuse. | Vehicle and the measuring equipment comply with the measurement specifics of NATO standard STANAG 3634 Ed.5 RUNWAY FRICTION AND BRAKING CONDITIONS - AATMP-13 EDITION A | Compliant with NATOs STANAG standard. | Technical Specification BV11, page 1, section 1.2, Approving | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
7.2 | Sõiduk ja mõõteseade peavad vastama Rahvusvahelise Lennundusorganisatsiooni Lennujaama hooldusjuhiste Osa 2 nõuetele (ICAO doc 9137 Airport Services Manual part 2 Pavement conditions). | Vehicle and the measuring equipment comply with the requirements of International Civil Aviation Authority (ICAO) doc 9137 Airport Services Manual part 2 Pavement conditions). | Listed in ICAO Airport Services Manual | Technical Specification BV11, page 1, section 1.2, Approving | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
7.3 | Mõõteseade vastab Ameerika materjalide testimise ühingu (ASTM) E2340: Continuous fixed-slip measurement juhiste nõuetele | Measurement equipment comply with the requirements of American Society of testing of materials (ASTM) standard E2340: Continuous fixed-slip measurement | Skiddometer BV11 does comply with ASTM E2340 standard for continuous friction measuring equipment (CFME). | Technical Specification BV11, page 1, section 1.2, Approving | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
7.4 | Mõõteseade rehvid peavad vastama Ameerika materjalide testimise ühingu (ASTM) juhiste E1551 Standard Specification for a Size 4.00-8 Smooth Tread Friction Test Tire nõuetele | Measurement tires comply with the requirements of American Society of testing of materials (ASTM) standard E1551 Standard Specification for a Size 4.00-8 Smooth Tread Friction Test Tire | ASTM E1551 tyre is used when smooth tread tyre is used. | Technical Specification BV11, page 4, section 3.4, Tyres | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
7.5 | Seadmete kasutusjuhendid peavad vastama rahvusvahelise standardi EVS-EN IEC/IEEE 82079-1:2020 või samaväärse standardi nõuetele. | Equipment instructions for use comply with Estonian Centre for Standardisation and Accreditation standard EVS-EN IEC/IEEE 82079-1:2020 or equivalent standard | The equipment instructions comply with the mentioned standard for equipment instructions. | Technical Specification BV11, page 7, section 7, Manuals | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
7.6 | Mõõteseadme ühendus vastab ISO 1103 standardi Coupling balls for caravans and light trailers -- Dimensions või samaväärse standardi nõuetele. | measurement equipment connection to the vehicle comply with the requirements of ISO 1103 standard Coupling balls for caravans and light trailers -- Dimensions or equivalent standard. | 50 mm tow ball compliant with ISO 1103. | Technical Specification BV11, page 5, section 3.12, Connection | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
7.7 | Mõõteseadme elektriühendus vastab ISO standardi 11446 Connectors for the electrical connection of towing and towed vehicles -- Part 2: 13-pole connectors for vehicles with 12 V nominal supply voltage intended to cross water fords või samaväärse standardi nõuetele | Measurement equipment electrical connection to the vehicle comply with the requirements of ISO standard 11446 Connectors for the electrical connection of towing and towed vehicles -- Part 2: 13-pole connectors for vehicles with 12 V nominal supply voltage intended to cross water fords or equivalent standard. | The connection from measuring equipment to the vehicle complies with the ISO 11446 standard. | Technical Specification WMS, page 2, section 1.7, Electrics | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents drawings/photos of equivalent product or reference letter from some of previous procurers
Back to contents

## 6. Logistics
Nõude number / Requirement number | Nõude kirjeldus | Requirement description | Pakutava toote/teenuse täpne kirjeldus või väärtus vastavalt nõude kirjeldusele / The exact description or value of the product/service offered according to the description of the requirement | Viide seotud dokumendile, veebilehele / Reference to the document, web page | Vastavuse kontrolli meetod | Verification method | Vastavuse kontrolli kirjeldus | Verification method description | Pakkuja poolsed kommentaarid / Comments by the tenderer
8. | Üleandmine | Delivery
8.1 | Üleandmine toimub Tellija asukohas Ämari Lennubaasis, Lääne-Harju vald, 76102, Harju maakond. | Acceptance of the vehicle takes place in the Procurers location at Ämari Airbase, Lääne-Harju vald, 76102, Harju maakond. | The delivery of the equipment will be to Ämäri Airbase, Lääne-Harju vald, 76102, Harjumaakond. | Technical Specification BV11, page 6, section 6, Delivery | Kinnituskiri | Confirmation | Pakkuja esitab referentskirja mõnelt eelmiselt lepingupartnerilt või lepingu väljavõtte. | Tenderer presents reference letter from some of previous procurers or extract from contracts.
8.2 | Seadmed on komplekteeritud ja kasutusvalmis. | Equipment is complete and ready to operate. | The equipment will be delivered complete and ready to operate | Technical Specification BV11, page 6, section 6, Delivery | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
8.3 | Seadmetel on õlid ja jahutusained kasutamiseks ettenähtud tasemetel. | Equipment is filled with lubrication and cooling liquids up to normal operating levels. | The equipment will be delivered complete and ready to operate, including the lubrication. | Technical Specification BV11, page 6, section 6, Delivery | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
8.5 | Kõik tööriistad ja tarvikud asuvad neile ettenähtud hoiukohtades. | All the tools and accessories shall be located in their designated places. | The equipment will be delivered complete and ready to operate, with transport packaging and unnecessary labelling removed and additional tools and accessories on their designed places. | Technical Specification BV11, page 6, section 6, Delivery | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
8.6 | Transpordipakendid ja ebavajalikud sildid on eemaldatud. | Transport packaging and unnecessary labelling is removed. | The equipment will be delivered complete and ready to operate, with transport packaging and unnecessary labelling removed and additional tools and accessories on their designed places. | Technical Specification BV11, page 6, section 6, Delivery | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
9. | Varuosad | Spare parts
9.1 | Mõõteseadmete varuosade (või asendusosade) saadavust tuleb kinnitada vähemalt 10 aastaks alates lõpliku kohapealse vastuvõtmise kuupäevast. | The spare parts (or substitutes) availability for equipment shall be confirmed from the day of final at site acceptance for a period of not less than 10 years. | Spare parts are available for all units from 1973, to current production, spare part availability for next 10 years. | Technical Specification BV11, page 6, section 4.1, Availability | Kinnituskiri | Confirmation | Pakkuja esitab planeeritava tarneplaani ülevaate, partnerite kinnitused või kehtivad lepingud. | Tenderer presents overview of planned supply procedures, partner confirmation or agreed contracts.
9.2 | Pakkuja esitab hiljemalt lepingu sõlmimise hetkeks varuosade ja kulumaterjalide nimekirja koos eeldatava hinna ja tarneajaga. | The Tenderer presents list of spare parts and consumables with expected price and prognosed delivery times not later than the day contract is agreed. | Moventor will present a list of Spare parts and consumables with expected price and expected delivery times. | Technical Specification BV11, page 6, section 4.1, Availability | Kinnituskiri | Confirmation | Pakkuja esitab varuosade nimekirja, elektroonilise kataloogi, veebileheküleje vms. | Tenderer presents list, electronic catalogue, webpage etc.
10. | Nõuded dokumentatsioonile | Documentation requirements
10.1 | Koos seadmetega tuleb tarnida niiskuskindlasse kilekotti suletud eesti- ja ingliskeelne dokumentatsioon koos digitaalsete failidega, mis sisaldab vähemalt järgmisi paberkandjaid: | Documentation in Estonian and English including delivery of digital files, sealed in a moisture-proof plastic bag shall be delivered with the vehicle including at least following hardcopy: | The documentation, in English and Estonian, will be delivered in a hardcopy and as digital files, sealed in moisture proof, plastic bag. Network diagram of functions included. | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
10.2 | 2 tk - seadmete ja varustuse kasutusjuhend; | 2 pcs - equipment's and appliances instructions for use; | User manuals included | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
10.3 | 2-tk – niiskuskindel lühijuhend veakoodide ja avariijuhistega; | 2 pcs – moisture proof quick guide of troubleshooting and emergency procedures; | Moisture proff quick guide included | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
10.4 | 2 tk - seadmete ja varustuse hooldusjuhend; | 2 pcs - equipment's and appliances instructions for maintenance; | Equipments maintenance instructions included | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
10.5 | 2 tk - seadmete ja varustuse varuosade nimekiri; | 2 pcs - equipment's and appliances spare parts and consumables list; | Equipments spare part list included | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
10.6 | 2 tk - mõõteseadme üldasendijoonis põhimõõtmetega; | 2 pcs - measuring equipment general arrangement drawings; | Equipments general drawings included | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
10.7 | 2 tk – Mõõteseadme määrdepunktide joonis. | 2 pcs – drawing with lubrication point locations of measurement equipment. | Drawings of lubrication points included | Technical Specification BV11, page 7, section 7, Manuals | Kinnituskiri | Confirmation | Pakkuja esitab sarnase toote joonised/fotod või referentskirja mõnelt eelmiselt lepingupartnerilt. | Tenderer presents photos of equivalent product or reference letter from some of previous procurers
10.8 | Seadmete kasutusjuhendid peavad vastama rahvusvahelise standardi EVS-EN IEC/IEEE 82079-1:2020 või samaväärse standardi nõuetele. | Equipment instructions for use comply with the requirements of standard EVS-EN IEC/IEEE 82079-1:2020 or equivalent standard. | The equipment instructions comply with the mentioned standard for equipment instructions. | Technical Specification BV11, page 7, section 7, Manuals | Tõend | Certificate | Pakkuja esitab sarnase toote joonised/fotod või materjalide sertifikaadid | Tenderer presents drawings/photos or conformance certificates of equivalent product.
11. | Kasutajakoolitused | User training requirements
11.1 | Pakkuja viib Tellija asukohas Ämaris läbi seadmete kasutajakoolituse vähemalt kuuele (6) Tellija esindajale. | Tenderer will perform equipment user training for at least six (6) representatives of the procurer at the Ämari location. | The training is 2 days and held at Ämäri location. | Technical Specification BV11, page 7, section 8, Training | Kinnituskiri | Confirmation | Pakkuja esitab sarnase koolituse fotod või referentskirja mõnelt eelmiselt lepingupartnerilt | Tenderer presents photos of equivalent training or reference letter from some of previous procurers.
11.2 | Kasutajakoolitus peab sisaldama vähemalt: | User training must include at least: | Skiddometer BV11 training schedule attached. | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.1 | Ohutustehnikat seadmetega töötamisel | Safe operations and safety | 1.4.1 Safety first | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.2 | Seadmete ja varustuse tööpõhimõtet ja võimekusi | Equipment and appliances working principles and capabilities | Included in theoretical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.3 | Seadmete käivitamist | Actuation of equipment | Included in theoretical and practical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.4 | Seadmete töökorrasoleku kontrolli | Equipment operational readiness check | Included in theoretical and practical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.5 | Seadmete ja varustuse asukohad, hoiustamine | Stowing and locations of equipment and accessories | Included in theoretical and practical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.6 | Rikete ja alarmide lahendamist | Breakdowns and troubleshooting | Included in theoretical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.7 | Mõõteseadme ühendamist sõidukiga | Connecting the equipment to the vehicle | Included in theoretical and practical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.8 | Avariitoimingud | Emergency operation | Included in theoretical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.9 | Seadme kasutusjärgset hooldust | Maintenance after use | Included in theoretical and practical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.10 | Seadmete hooldused ja intervallid | Equipment maintenance training and intervals | Included in theoretical and practical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.11 | Keskkonnakaitse | Environmental protection | Included in theoretical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.2.12 | Hõõrdeteguri koefitsiendi mõõtmise ja mõõteseadme kalibreerimise protseduurid. | Friction coefficient measurement and equipment calibration procedures. | Included in theoretical and practical part | Skiddometer BV11, Technical Specification BV11, page 8, Attachments, Skiddometer BV11 training Program | Kinnituskiri | Confirmation | Pakkuja esitab koolituse materjalide ülevaate | Tenderer presents overview of training materials
11.3 | Vähemalt 10 tööpäeva enne koolituste teostamise algust esitab Pakkuja Tellijale ja/või tema volitatud esindajale kooskõlastamiseks koolituste ajakava ja asjassepuutuvad dokumendid. | Tenderer presents for acceptance to Procurer and/or its authorized representative all training time schedules and related documents at least 10 working days prior to the training. | Moventor will present the training schedule at least 10 days prior to representative for acceptance. | Technical Specification BV11, page 7, section 8, Training | Kinnituskiri | Confirmation | Pakkuja esitab koolituskava ülevaate | Tenderer presents overview of training schedule
12. | Nõuded garantii teenusele | Warranty service requirements
12.1 | Pakkuja annab mõõteseadmele ja selle tarvikutele, abiseadmetele ja tööriistadele garantii vähemalt 2 aastaks. | Tenderer grants warranty for the measurement equipment it`s parts and appliances of at least two (2) years. | - 2-year general full warranty | Technical Specification BV11, page 6, section 5, Guarantee time | Kinnituskiri | Confirmation | Pakkuja esitab garantiiteenuse kirjelduse ülevaate | Tenderer presents overview of warranty services
12.2 | Tehtud remonttöödele peab Pakkuja andma minimaalselt 6-kuulise garantii, paigaldatud varuosadele minimaalselt 12-kuulise garantii. | Tenderer will grant a warranty of at least 6 months for repair works and 12 months for installed spare parts. | - Warranty of 6 months for repair works - Warranty of 12 months for installed spare parts | Technical Specification BV11, page 6, section 5, Guarantee time | Kinnituskiri | Confirmation | Pakkuja esitab garantiiteenuse kirjelduse ülevaate | Tenderer presents overview of warranty services
12.3 | Hooldused ja remondid teostakse üldjuhul Tellija asukohas Ämari Lennubaasis, Lääne-Harju vald, 76102, Harju maakond. | Maintenance and repair works will generally be performed at the contracting authority’s location in Ämari Airbase, Lääne-Harju Parish, 76102, Harju County. | - Repair and maintenance works are generally performed at the Ämäri Airbase. | Technical Specification BV11, page 6, section 5, Guarantee time | Kinnituskiri | Confirmation | Pakkuja esitab garantiiteenuse kirjelduse ülevaate | Tenderer presents overview of warranty services
12.4 | Pakkuja on kohustatud alustama garantii korras ette nähtud töödega Tellija asukohas hiljemalt 72 tunni jooksul alates Tellija vastavasisulisest nõudest. | The tenderer is obligated to start performing warranty works at Ämari Air Base within 72 hours at the latest, starting from the Buyer’s request. | - The warranty works at Ämäri air base are started within 72 hours from the buyer’s request. | Technical Specification BV11, page 6, section 5, Guarantee time | Kinnituskiri | Confirmation | Pakkuja esitab garantiiteenuse kirjelduse ülevaate | Tenderer presents overview of warranty services
12.5 | Juhul, kui seadme koostisosa, milleta seade on kasutuskõlbmatu, on vaja viia Pakkuja asukohta garantii remondi või hoolduse teostamiseks, paigaldab Pakkuja asendusosa või leiab samaväärse lahenduse. | In the event the equipment or it`s component of which breakdown renders the vehicle and measurement equipment inoperable and can only be repaired or maintained in the Tenderer’s location, the Tenderer installs replacement component for the duration of repairs, or provides equivalent means. | - In the event the measurement equipment or it`s component of which breakdown renders the vehicle and measurement equipment inoperable and can only be repaired or maintained at Moventor facilities, Moventor installs replacement component for the duration of repairs, or provides equivalent means. | Technical Specification BV11, page 6, section 5, Guarantee time | Kinnituskiri | Confirmation | Pakkuja esitab garantiiteenuse kirjelduse ülevaate | Tenderer presents overview of warranty services
Back to contents