**Rakvere Haigla Iridium SAT telefoni paigalduse fotod**

**18.02.2025**

Antenn on paigaldatud 2. korruse katusel oleva TV antennimasti külge. Antennist tuleb 2m LMR400 kaabel UV kindlas kõris millele järgneb üleminek RFA1/2 kaablile, mille tegin ilmastikukindlaks termokahaneva toruga. Edasi läheb kaabel UV kindlas kõris kuni katuse läbiviiguni, sealt läheb kaabel kaablišahti ja mööda šahti jõuab 0. korruse ventkabrisse. Sealt läheb kaabel edasi mööda redelit elektrikilbi ruumi ja edasi koridori lae taha. Koridori lae tagant töötajate osakonda ühe kabineti lae taha ja sealt edasi läbi vahekoridori kuni sekretäri ruumi lae taha. Sealt tuleb kaabel alla karbikusse, kuhu panime 4G filtri ning sealt üleminekuga edasi dokki.

Kaabeldus:

Antenn - TNCm - 2m LMR400 - Nm - Nf - 38m RFA 1/2 - Nm - 4G filter - Nm/TNCm üleminek - dokk

Kõnelogi:

1. 17.02.25 16.06 +881623459034 to +37256233339
2. 17.02.25 16.06 +881623459034 to +37256233339
3. 17.02.25 16.07 +881623459034 to +37256233339
4. 17.02.25 16.07 +37256233339 to +881623459034
5. 17.02.25 16.12  +881623459034 to +3725033144
6. 17.02.25 16.15 +881641426316 to +881623459034

A antenna on a roof

AI-generated content may be incorrect.A close-up of a machine

AI-generated content may be incorrect.A building with snow on the ground

AI-generated content may be incorrect.A group of air conditioning units in the snow

AI-generated content may be incorrect.A telephones and wires in a wall

AI-generated content may be incorrect.A telephone on a wall

AI-generated content may be incorrect.

![A building with many windows

AI-generated content may be incorrect.]()