## Аркуш1
List of equipment needed 23-01-2025
Infrastructure | Equipment | Unit | Quantity
Generation | Power unit transformer 250 MVA 220 kV / 15.75 kV | pcs | 2
Generation | Power unit transformer 250 MVA 330 kV / 15.75 kV | pc | 1
Generation | Power unit control system + TCS + turbine excitation system | pcs | 2
Generation | Recovery and replacement of the damaged turbine and boiler departments’ equipment. Recovery of the main and supporting building structures: roofs, walls, columns, window openings, control room premises, switchgear room, workshops, supporting structures of the current lines, etc. | kit | 1
Generation | Power unit transformer 200 MVA / 220 kV | pc | 1
Generation | Auxiliary transformer 40 МVA | pc | 1
Generation | Recovery and replacement of the damaged turbine and boiler departments’ equipment. Recovery of the main and supporting building structures: roofs, walls, columns, window openings, control room premises, switchgear room, workshops, supporting structures of the current lines, etc. | kit | 1
Generation | Recovery and replacement of the damaged turbine and boiler departments’ equipment. Recovery of the main and supporting building structures: roofs, walls, columns, window openings, control room premises, switchgear room, workshops, supporting structures of the current lines, etc. | kit | 1
Generation | Step-up transformer 250MVA-220kV-15.75kV | pcs | 1
Generation | Software and hardware complex with a set of cabling and wiring products | pcs | 1
Generation | Software and hardware complex with a set of cabling and wiring products | pcs | 1
Generation | Excitation system of turbine generator, type ТGV–200 | pcs | 1
Generation | Stationary water treatment plant (reverse osmosis) | pcs | 1
Generation | 3200 kVA dry type excitation transformer | pcs | 1
Generation | Fuel Unloader (wagon dumper) | pcs | 1
Generation | Electrolysis units | set | 1
Generation | Step-up transformer 200MVA-220kV-18k | set | 1
Generation | Excitation system of turbine generator, type ТGV–200 | pcs | 1
Generation | 2500 kVA dry type excitation transformer | pcs | 1
Generation | Switch 6 kV 1600-2000 А | pcs | 30
Generation | Electrofilter equipment set | pcs | 1
Generation | Steam Turbine К-325-240 | pcs | 1
Generation | Step-up transformer 400MVA-110kV-20kV | pcs | 1
Generation | Step-up transformer 400MVA-330kV-20kV | pcs | 1
Generation | Software and hardware complex with a set of cabling and wiring products | pcs | 1
Generation | Excitation system with a transformer | pcs | 1
Generation | Excitation system of turbine generator, type ТGV–300 | pcs | 1
Generation | Dry Excitation Transormator 3200 kVA | pcs | 1
Generation | Step-up Power Transformer 400MVA/110kV/20kV | pcs | 1
Generation | Step-up Power Transformer 400MVA/330kV/20kV | pcs | 1
Generation | Autotransformer 200MVA/330kV/110kV | pcs | 2
Generation | Auxiliary Transformer 32MVA/35kV | pcs | 1
Generation | Current Lead 20kV | pcs | 2
Generation | Transformer Oil | L | 120 thousand liters
Generation | Busbars 6kV | pcs | 1
Generation | Excitation Transformer 3.2MVA/20kV | pcs | 1
Generation | Circuit Breaker SF6 110kV | pcs | 5
Generation | Disconnectors 110kV | pcs | 10
Generation | Circuit Breaker SF6 330kV | pcs | 3
Generation | Disconnectors 330kV | pcs | 6
Generation | Step-up Power Transformer 250MVA/220kV/15.75kV | pcs | 1
Generation | Turbine Oil TP-22 | t | 70
Generation | Wire АС-400, АС-300 | m | 1000
Generation | Circuit breaker SF6 220 kV 220 | pcs | 2
Generation | Disconnectors 220kV | pcs | 2
Generation | Disconnectors 330kV | pcs | 2
Generation | Materials for roof and wall restoration | kit | 3
Generation | High voltage support | pcs | 1
Generation | Cable and wire products | m | 40000
Generation | Busbars set 15.75 kV | pcs | 2
Generation | Bushings 220 kV | pcs | 3
Generation | Bushings 330 kV | pcs | 3
Generation | Turbine overhaul materials and equipment kit | kit | 2
Generation | Backhoe loader JCB-4CX | pcs | 1
Generation | Truck Crane 200 t. | pcs | 1
Generation | Demolition boom excavator | pcs | 1
Generation | Step-up power transformer 400MVA/110kV/20kV | pcs | 1
Generation | Step-up power transformer 400MVA/330kV/20kV | pcs | 1
Generation | Autotransformer 200MVA/330kV/110kV | pcs | 2
Generation | Auxiliary transformer 32MVA/35kV | pcs | 1
Generation | Current lead 20kV | set | 2
Generation | Transformer oil | t | 120
Generation | Busbars 6kV | set | 1
Generation | Excitation transformer 3.2MVA/20kV | set | 1
Generation | Circuit breaker SF6 110kV | pcs | 5
Generation | Disconnectors 110kV | pcs | 10
Generation | Circuit breaker SF6 330kV | pcs | 3
Generation | Disconnectors 330kV | pcs | 6
Generation | Step-up power transformer 250MVA/220kV/15.75kV | pcs | 1
Generation | Autotransformer 133MVA 400kV 220kV 3AT | pcs | 3
Generation | Bushings 220 kV 2000 A | pcs | 3
Generation | Bushings 400 kV 2000 A | pcs | 3
Generation | Disconnectors 220kV | pcs | 1
Generation | Disconnectors 330kV | pcs | 1
Generation | Disconnectors 400kV | pcs | 1
Generation | Circuit breaker SF6 400kV | pcs | 1
Generation | Circuit breaker SF6 330kV | pcs | 1
Generation | Circuit breaker SF6 220kV | pcs | 1
Generation | Voltage transformers 400 kV | pcs | 3
Generation | Voltage transformers 330 kV | pcs | 3
Generation | Voltage transformers 220 kV | pcs | 3
Generation | Current transformers 400 kV | pcs | 3
Generation | Current transformers 330 kV | pcs | 3
Generation | Current transformers 220 kV | pcs | 3
Generation | Surge arrester 400 kV | pcs | 3
Generation | Surge arrester 330 kV | pcs | 3
Generation | Surge arrester 220 kV | pcs | 3
Generation | Power unit transformer 400 MVA /154 kV / 20 kV | pc | 1
Generation | Power unit transformer 250 MVA / 150 kV / 18 kV | pc | 1
Generation | Excitation transformer 20 kV / 1 kV | pc | 1
Generation | Power unit transformer 250 MVA / 150 kV / 18 kV | pc | 1
Generation | Power unit transformer 400 MVA /154 kV / 20 kV | pc | 1
Generation | Specialized equipment for debris removal and remediation (hydraulic car lift, tractor unit, semi trailer, tipper truck, etc.) | pcs | 1
Generation | Batteries with charger | pcs | 1
Generation | Electric motors for feeder electric pump | pcs | 2
Generation | Electrolysis units | pcs | 1
Generation | Equipment of the 154 kV cell: CT 154 kV 3 pcs., circuit breaker 154 kV 1 pc., disconnector 154 kV 3 pcs. | pcs | 1
Generation | Step-up transformer 250MVA-150kV-18kV | pcs | 1
Generation | Software and hardware complex with a set of cabling and wiring products | pcs | 1
Generation | Excitation system of turbine generator, type TGV–200 | pcs | 1
Generation | 2500 kVA dry type excitation transformer | pcs | 1
Generation | Batteries with charger | pcs | 2
Generation | Electric motors for feeder electric pump | pcs | 1
Generation | Electrolysis units | pcs | 1
Generation | Set of transformers bushings 154 kV (6 pcs.) and 330 kV (6 pcs.) | set | 1
Generation | A set of heating elements of a regenerative air heater | pcs | 4
Generation | A set of heating elements of a regenerative air heater | pcs | 4
Generation | High-pressure convective superheater with collectors | pcs | 2
Generation | High-pressure convective superheater with collectors | pcs | 2
Generation | Turbo-driven pump | pcs | 1
Generation | Step-up transformer 400MVA-330kV-20kV | pcs | 1
Generation | Step-up transformer 400MVA-330kV-20kV | pcs | 1
Generation | Software and hardware complex with a set of cabling and wiring products | pcs | 1
Generation | Start-up transformer TRDN 32000/1502 | pcs | 1
Generation | Excitation system of turbine generator, type ТVG–300 | pcs | 1
Generation | 3200 kVA dry type excitation transformer | pcs | 1
Generation | Current transformers 330 kV | pcs | 9
Generation | Power unit restoration project | set | 1
Generation | A set of boiler equipment for work on coal G type | set | 1
Generation | Gas-tight furnace equipment | set | 1
Generation | A set of heating surfaces weighing 377.3 tons | set | 1
Generation | Step-up transformer 400MVA-150kV-20kV | set | 1
Generation | A set of equipment and materials for restoring the turbine and auxiliary equipment | set | 1
Generation | A set of equipment and materials for restoring the boiler and auxiliary equipment | set | 1
Generation | A set of equipment and materials for restoring the electrofilter | set | 1
Generation | Measuring, controlling and automation equipment | set | 1
Generation | Auto hydraulic lift 40m (Lift capacity: 230 kg; working height: 40 m) | pcs | 1
Generation | Truck crane on a special chassis, with a maximum lifting capacity of 200 tons | pcs | 1
Generation | Bulldozer LIEBHERR PR 756 | pcs | 1
Generation | Excavator (wheeled, replaceable equipment (buckets 0.3/1.3 m3, hydraulic shears, hydraulic hammers, diesel engine: from 67 kW, gross weight: up to 8.6 tons) | pcs | 1
Generation | Mobile electrical laboratory 35К | pcs | 1
Generation | Heavy excavator, Dismantling boom 32m, hydraulic shears, hydraulic hammers | pcs | 1
Generation | Auto hydraulic lift 40m (Lift capacity: 230 kg; working height: 40 m) | pcs | 1
Generation | Excavator (wheeled, replaceable equipment (buckets 0.3/1.3 m3, hydraulic shears, hydraulic hammers, diesel engine: from 67 kW, gross weight: up to 8.6 tons) | pcs | 1
Generation | Separator cyclone | set | 2
Generation | Metal for the restoration of the dust collector system | t | 60
Generation | Materials for roof and wall restoration | set | 1
Generation | Oil pump for the generator sealing system | pcs | 3
Generation | Auxiliary transformer TRDNS -32000/35 | pcs | 3
Generation | Transformer oil | t | 100
Generation | Excitation transformer with excitation system | pcs | 1
Generation | Materials and equipment needed to restore the turbine, generator and auxiliary equipment | set | 1
Generation | Generator-transformer protection set | set | 1
Generation | 6kV switchgear equipment | set | 1
Generation | 380 V switchboards | pcs | 2
Generation | Disconnectors 330kV | pcs | 3
Generation | Materials for roof and wall restoration | set | 2
Generation | Solar panels Trina Solar 330 Wp and Seraphim 330 Wp | pcs | 750
Generation | Equipments for repair and maintenance of electrical substation equipment Omicron Dirana/Megger IDAX322, Omicron FRANEO 800/Omicron FRANEO 800, Omicron CT Analyzer, Omicron VOTANO 100, Omicron CMC 356, SMALL SERVICE CART Dilo, MULTI-ANALYSER SF6 Dilo 3-038R-R313, Dilo – 3-558-R010/A, Fluke Ti480 PRO, Megger ESG NT, Megger MFM 10-1) | pcs | 11
Generation | Power cable 35 kV, control cable | m | 8300
Generation | Solar panels Risen RSM72-6-370М 370 Wp | pcs | 4860
Transmission | 330 kV electric and gas current transformer Unom = 362 kV Kt = 1000-2000/1 Accuracy class: 0.2S/0.2S/10P/10P/10P/10P Power of secondary windings: 20/20/40/40/40/40 VA | phase | 15
Transmission | 750 kV electric and gas current transformer Unom = 800 kV Kt = 4000-3000-2000-15000/1 Accuracy class: 0.2S/0.2S/10P/10P/10P/10P Power of secondary windings: 20/20/40/40/40/40 VA | phase | 44
Transmission | Current transformer 330 kV Electric and gas Nominal voltage - 330 kV The transformation ratio is 2000/1 Accuracy class - 0.2S/0.2S/10P/10P/10P/10P | phase | 13
Transmission | 330 kV electric and gas current transformer Unom = 362 kV Kt = 1000/1 Accuracy class: 0.2S/0.2S/10P/10P/10P/10P Power of secondary winding: 20/20/40/40/40/40 VA | phase | 14
Transmission | Current transformer 110 kV Electric and gas Nominal voltage - 110 kV The transformation factor is 750-1500/1 Accuracy class - 0.5/10P/10P/10P | phase | 60
Transmission | Current transformer 110 kV Electric and gas Nominal voltage - 110 kV The transformation factor is 600-1200/5 Accuracy class - 0.2S/0.2S/10P/10P/10P/10P | phase | 14
Transmission | Current transformer 220 kV Electric and gas Nominal voltage - 220 kV The transformation factor is 600-1200/5 Accuracy class - 0.2S/0.2S/10P/10P/10P/10P | phase | 24
Transmission | current transformer 110 kV Eelegas Unom = 145 kV Kt = 1500/5 Accuracy class: 0.2S/0.2S/10P/10P/10P/10P Power of secondary windings: 20/20/40/40/40/40 VA | phase | 10
Transmission | Current transformer 110 kV Electric and gas Unom = 145 kV Kt = 1000/1 Accuracy class: 0.2S/0.2S/10P/10P/10P/10P Power of secondary windings: 20/20/40/40/40/40 VA | phase | 21
Transmission | Current transformer 110 kV Electric and gas Unom = 145 kV Kt = 2000/5 Accuracy class: 0.2S/0.2S/10P/10P/10P/10P Power of secondary windings: 20/20/40/40/40/40 VA | phase | 12
Transmission | Voltage transformer 110 kV gas, inductive Unom = 110/√3 kV Kt = 110000/√3/100/√3/100/100/√3 Accuracy class of second volume: 0.2/3Р/3P Nominal voltage: 100/√3/100/100/√3V Winding power: 100/1200/1200 VA | phase | 4
Transmission | Voltage transformer 330 kV gas, inductive Unom = 330/√3 kV Kt = 330000/√3/100/√3/100/100/√3 Accuracy class of second volume: 0.2/3Р/3P | phase | 10
Transmission | Voltage transformer 750 kV Capacitive Nominal voltage - 750/√3 kV Transformation coefficient - 750000/√3/100/√3/100/100/√3 | phase | 33
Transmission | Switch 330 kV electric gas Unom = 330 kV Inom = 4000 A Power off Short circuit - 40 kA | 3-phase set | 25
Transmission | Switch 330 kV electric gas Unom = 330 kV Inom = 3150 A Ivimk kz = 40 kA | 3-phase set | 19
Transmission | Switch 220 kV Nominal voltage - 220 kV Rated current - 3150A Power off Short circuit - 40 kA | 3-phase set | 8
Transmission | Switch 110 kV electric and gas Unom = 145 kV Inom = 2000 A Ivymk kz = 31.5 kA | 3-phase set | 8
Transmission | Switch 110 kV Nominal voltage - 110 kV Rated current - 3150A Power off Short circuit - 40 kA | 3-phase set | 10
Transmission | Switch 110 kV Unom = 145 kV Inom = 3150 A Ivimk kz = 40 kA | 3-phase set | 12
Transmission | Disconnector 750 kV with one grounding knife Un - 800 kV Otherwise - 3150A | 3-phase set | 45
Transmission | Disconnector 750 kV with two grounding blades Unom - 800 kV Other - 3150 A | 3-phase set | 36
Transmission | Disconnector 150 kV with two grounding knives Nominal voltage - 150 kV Rated current - 2000A | 3-phase set | 5
Transmission | Disconnector 110 kV, with one grounding knife Un = 110 kV Inom = 1000 A (with one grounding blade) | 3-phase set | 9
Transmission | Disconnector 110 kV with two grounding blades Un = 110 kV Inom = 1600 A (with two grounding blades) Idin kz = 40 kA | 3-phase set | 5
Transmission | Disconnector 110 kV with two grounding blades Un = 110 kV Inom = 1000 A (with two grounding blades) | 3-phase set | 12
Transmission | Surge arrester 750 kV Nominal voltage of surge arrester (Ur) = 612 kV Line discharge class -3 | 3-phase set | 13
Transmission | Surge arrester 330 kV Nominal voltage of OPN (Ur) = 288 kV Line discharge class - 3 | 3-phase set | 3
Transmission | Surge arrester 330 kV Nominal voltage of OPN (Ur) = 288 kV Line discharge class - 2 | 3-phase set | 10
Transmission | Surge arrester 220 kV Nominal voltage (Ur) = 192 kV Line discharge class - 2 | 3-phase set | 5
Transmission | Surge arrester 150 kV Nominal voltage (Ur) - 138 kV Line discharge class - 3 | 3-phase set | 1
Transmission | Surge arrester 110 kV Nominal voltage of surge arrester (Ur) - 108 kV Line discharge class - 2 | 3-phase set | 5
Transmission | Surge arrester 110 kV Nominal voltage of surge arrester (Ur) - 96 kV Line discharge class - 3 | 3-phase set | 1
Transmission | Power transformer 25 kV 110/10/6 kV | pcs. | 1
Transmission | Cabinet of the main differential-phase protection with a protection terminal and a 102 kHz transceiver | pcs. | 1
Transmission | Cabinet of the main differential-phase protection with a protection terminal and a 500 kHz transceiver, compatible with DFZ-201 | pcs. | 1
Transmission | High-voltage inputs 750 kV | pcs. | 33
Transmission | High-voltage inputs 330 kV | pcs. | 22
Transmission | High-voltage inputs 150 kV | pcs. | 13
Transmission | High-voltage inputs 110 kV | pcs. | 34
Transmission | Bus supports 110 kV | pcs. | 50
Transmission | Bus supports 150 kV | pcs. | 50
Transmission | Bus supports 330 kV | pcs. | 100
Transmission | Bus supports 750 kV | pcs. | 156
Transmission | Reinforced concrete NSP slabs | pcs. | 50
Transmission | Cabinet with equipment for receiving/transmitting relay protection and emergency commands automation in the amount of 32 pcs. transmitter 156 kHz, receiver 172 kHz | pcs. | 1
Transmission | Cabinet with equipment for receiving/transmitting relay protection and emergency commands automation in the amount of 32 pcs. 60-150kHz | pcs. | 5
Transmission | Cabinet with equipment for receiving/transmitting relay protection and emergency commands automation in the amount of 32 pcs. 150 - 250kHz | pcs. | 5
Transmission | Cabinet with equipment for receiving/transmitting relay protection and emergency commands automation in the amount of 32 pcs. 250 - 400kHz | pcs. | 5
Transmission | Cabinet with equipment for receiving/transmitting relay protection and emergency commands automation in the amount of 32 pcs. 400 - 600kHz | pcs. | 5
Transmission | Cabinet with bus differential protection terminal (DZSh) | pcs. | 12
Transmission | A cabinet with an autotransformer protection terminal (DZT) | pcs. | 25
Transmission | Transformer oil HyVolt III produced by Ergon, Inc. | t. | 1000
Transmission | Relay protection and emergency automation | set | 60
Transmission | Aerial platform trucks (h=45 m, 6х6 chassis) | set | 8
Transmission | Aerial platform trucks ( h=37 m, 6х6 chassis) | set | 6
Transmission | Aerial platform trucks (h=32 m, 4х4 chassis) | set | 6
Transmission | Aerial platform trucks (h=22 m, 4х2 chassis) | set | 60
Transmission | Off-road vehicle 4x4 (Crossover) | set | 5
Transmission | Specialized vehicle/ emergency brigade vehicle | set | 15
Transmission | Autotransformer 330 kV 200,000 kVA HV/CH/LV voltages - 330/110/10 kV | pcs. | 1
Transmission | Autotransformer 330 kV 250,000 kVA HV/CH/LV voltages - 330/150/35 kV | pcs. | 1
Transmission | Autotransformer 330 kV 195,000 kVA HV/CH/LV voltages - 330/110/10 kV | pcs. | 1
Transmission | Regulating transformer 10 kV LTDN-40000/10 | pcs. | 1
Transmission | Lead-acid battery, capacity 370-600 Ah, complete with racks and jumpers. | pcs. | 2
Transmission | Direct current panel 220 Volt direct current, with 5 panels (two distribution panels, two battery chargers, one control panel), two-way service. | pcs. | 1
Transmission | Complete switchgear 10 kV prefabricated type building, outdoor climatic implementation, with a lighting, heating system, ventilation, with three cells of the KRU series (switch, disconnector, voltage transformer), input through pass-through insulators, cable output from lower attachment. | pcs. | 1
Transmission | Autotransformer 240 MVA / 330 kV / 220 kV / Yauto/d-11 | pc | 1
Transmission | Autotransformer 210 MVA / 400 kV / 330 kV / Yauto/d-11 | pcs | 3
Transmission | Autotransformer 133 MVA / 400 kV / 220 kV / Yauto/d-11 | pc | 1
Transmission | Autotransformer 250 MVA / 330 kV / 150 kV | pcs | 1
Transmission | Autotransformer 400 MVA / 330 kV / 150 kV | pcs | 2
Transmission | Autotransformer 250 MVA / 330 kV / 150 kV | pcs | 1
Distribution | Disconnector 110kW Disconnector 110 kW РДЗ-1-110/1000 | pcs. | 7
Distribution | Disconnector 110 kW Disconnector 110 kW РДЗ-2-110/1 ООО | pcs. | 9
Distribution | Vacuum circuit breaker ВРЗ5НС outdoor installation, electromagnetically operated, with locking in the working position. Remote control. | pcs. | 11
Distribution | Vacuum circuit breaker 6-10 kW ВР1 | pcs. | 50
Distribution | Соге switch ВРС-11 О | pcs. | 7
Distribution | Pump type СЕ 1250-140-11 with electric motor, skid-mounted | pcs. | 7
Distribution | Network pump СЕ 800/100 | set | 1
Distribution | Network pump СЕ 1250/140 | set | 3
Distribution | Water treatment system for heat supply system іп modular design, system capacity: 100 cubic metres/hour | system | 1
Distribution | АВВ Gas circuit breaker type LTB 170 D1/B ог GENERA L ENERGY GL313 F1/4031P | set | 6
Distribution | 154 kV disconnector type РДЗ-2-150/1000 У1, with drive | set | 14
Distribution | Current transformer ІВМ (170 kV) ог series ТФЗМ-170-I У1, 600/5 | set | 6
Distribution | Voltage transformer EMF (154 kV) | set | 2
Distribution | Surge arrester PEXLIM Q144-XH170 | set | 3
Distribution | Power transformer 500 kVa, 6300/23V, Connection scheme wye-wye-5 and Wye-delta-100 | Unit | 1
Distribution | Network pump Д-1250-125 1250tph, Head 125m 1480R/min, 630kW Voltage 6000V | Unit | 1
Distribution | Pressure regulator ITRON 3000 mЗ/h, lnlet pressure 0.6 bar, Outlet pressure 0.25 Ьаг, Number of reduction lines-2 | Unit | 1
Distribution | Power transformer ТРДНС-32000/35-У1 | pcs. | 1
Distribution | Lube оіІ сооІег МП-21 | pcs. | 4
Distribution | Wilo Atmos GIGA-N 40/160-4/2 pump set | pcs. | 1
Distribution | Wilo SCP-200-360-HB stainless pump set | pcs. | 1
Distribution | Wilo Atmos GIGA-8 125/305-37/4-Р6 pump set | pcs. | 2
Distribution | Wilo Atmos GIGA-B 80/170-30/2 pump set | pcs. | 1
Distribution | Wilo Atmos GIGA-B 65/215-22/2 pump set | pcs. | 2
Distribution | Wilo SCP 200/460HA-160/4-FC pump set | pcs. | 1
Distribution | Wilo FA10.65E pump (with FK202H-4/22 drive, EMU pump, horizontal installation) | pcs. | 4
Distribution | Wilo Atmos GIGA-N 80/200-30/2 pump set | pcs. | 3
Distribution | Wilo SCP 250/700DV-630/4/6kV-R1/E1-FC pump set with 6000 V frequency converter | pcs. | 2
Distribution | Power transformer TDTN 40 MVA 150/10/6 kV | pcs | 1
Distribution | Power transformer TDTN 40 MVA 150/35/10 kV | pcs | 1
Distribution | Power transformer TDTN 40 MVA 150/35/6 kV | pcs | 1
Distribution | Power transformer TDTN 63 MVA 150/35/6 kV | pcs | 3
Distribution | Power transformer TMN 2,5 MVA 35/6 kV | pcs | 1
Distribution | Power transformer TMN 2,5 MVA 35/10 kV | pcs | 2
Distribution | Power transformer TDNS 10 MVA 35/6 kV | pcs | 1
Distribution | Truck crane on a special chassis, with a maximum lifting capacity of 200 tons | pcs | 1
Distribution | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 350
Distribution | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 300
Distribution | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 255