|  |  |
| --- | --- |
| TÖÖPROJEKT  TRUUP CU037082. HOOLDUSJUHEND    Ainuvastutus käesoleva väljaande eest lasub autoril.  Euroopa Liit ei vastuta selles sisalduva teabe mistahes kasutamise eest. | DETAILED TECHNICAL DESIGN  TRUUP CU037082. MAINTENANCE GUIDE    The sole responsibility of this publication lies with the author.  The European Union is not responsible for any use that may be made of the information contained therein. |

**Projekti nimi:** Rail Baltica Harjumaa põhitrassi raudteetaristu I etapi ehitustööd

**Projekteerimisteenused:** Tööprojekt. Truup - hooldusjhend

**Dokumendi pealkiri:** RBDTD-EE-DS2-DPS1\_TRE\_CU037082-ZZ\_ZZZZ\_RP\_TU-TS\_DTD\_000003

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Rev. | Kuupäev | Dokumendi staatus | Koostanud | Kontrollinud | Heaks kiitnud | Vastutav isik | Vastu võtnud |
| 001 | 02.07.2024 | Esitatud | Nadezda Tervo | Liisa Karu | Liisa Karu | Ats Pildre |  |
| 002 |  |  |  |  |  |  |  |
| 003 |  |  |  |  |  |  |  |
|  | Allkirjad |  |  |  |  |  |  |

**Project title:** Rail Baltica Harjumaa main route railway I stage construction works

**Design Service:** Detailed technical design. Culvert maintenance guide

**Document title:** RBDTD-EE-DS2-DPS1\_TRE\_CU037082-ZZ\_ZZZZ\_RP\_TU-TS\_DTD\_000003

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Rev. | Date | Doc Status | Prepared | Checked | Approved | Responsible specialist | Accepted |
| 001 | 02.07.2024 | Submitted | Nadezda Tervo | Liisa Karu | Liisa Karu | Ats Pildre |  |
| 002 |  |  |  |  |  |  |  |
| 003 |  |  |  |  |  |  |  |
|  | Signatures |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SISUKORD  [1. ÜLDTEAVE 4](#_Toc169523227)  [1.1. SISSEJUHATUS JA KOHALDAMISALA 4](#_Toc169523228)  [1.2. EHITISE KIRJELDUS 4](#_Toc169523229)  [1.3. VIITEDOKUMENDID 4](#_Toc169523230)  [2. KASUTUSTINGIMUSED 5](#_Toc169523231)  [2.1. KOORMUSTE NORMATIIVSED VÄÄRTUSED 5](#_Toc169523232)  [2.2. MATERJALIDE OMADUSED 5](#_Toc169523233)  [3. ÜLEVAATUSE JUHEND 6](#_Toc169523234)  [3.1. ELEMENTAARSED ÜLEVAATUSED 6](#_Toc169523235)  [3.2. REGULAARSED ÜLEVAATUSED 6](#_Toc169523236)  [3.3. ERIÜLEVAATUSED 9](#_Toc169523237)  [3.4. ÜLEVAATUSE TULEMUSED 9](#_Toc169523238)  [3.5. ÜLEVAATUSE MEETOD JA VAHENDID 9](#_Toc169523239)  [4. HOOLDUSJUHEND 10](#_Toc169523240)  [4.1. VEE ÄRAVOOLUD 10](#_Toc169523241)  [4.2. PEAMISED TUGIELEMENDID 11](#_Toc169523242)  [4.3. MUUD STRUKTUURIELEMENDID 11](#_Toc169523243)  [4.4. KALDEKAITSE 11](#_Toc169523244)  [4.5. VEEKINDEL HERMEETIK 11](#_Toc169523245)   1. ÜLDTEAVE    1. Sissejuhatus ja kohaldamisala   Dokumendi eesmärk on koostada truupide ja väikeloomade ülekäigukohtade kasutus- ja hooldusjuhend, mis on seotud liiklusega Rail Baltica raudteel. Antud dokument esitatakse Rail Balticale ja raudtee hoolduse eest vastutavale (juriidilisele) töövõtjale. Lõplik kasutus- ja hooldusjuhend tuleb esitada paigaldamistööde lõpus koos lisajuhendiga, milles on määratletud truupide ja loomade ülekäigukohtade ehitamiseks heaks kiidetud tooted ja materjalid.  Rajatis asub Ülemiste-Kangru raudteelõigus (DS2-DPS1) Rail Baltica raudteeliinil Tallinnast Rapla.   * 1. Ehitise kirjeldus  Üldine Kokku on 1 truup teelõigul Tallinn-Lagedi veekogu ületamiseks ja loomade ülekäigukohtadeks. Need ristumiskohad on kõik teejoone suhtes ortogonaalsed või peaaegu ortogonaalsed ja toetavad sellest üle kulgevaid teid. Kõikide nende truupide asukohad pikettide suhtes ja nende mõõtmed on üksikasjalikult esitatud allolevas tabelis:   |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | **KOOD MD** | **DP pikett** | **Kirjeldus** | **Laius (m)** | **Kõrgus (m)** | **Paksus (m)** | **Pikkus (m)** | | CU037082 | 4+063 | Truup + loomade ülekäigukoht | 4.00 | 2.00 | 0.35 | 15.00 |   Ehitiste kirjeldused  Truupide konstruktsiooniline lahendus on monteeritava karbi sektsioon. Truubi sisemised vabad mõõtmed on 4,00x2,00m. Truubi mõlemas otsas on maantee mullatööde mahutamiseks tiibseinad.  Seetõttu saab antud ehitises eristada kahte põhielementi: monteeritavad moodulid keskel ja tiibseinad otstes. Truupide ja loomade ülekäigukohtade kavandatud kasutusiga on 100 aastat. Ehitusprotsess Truubikarbid on monteeritavad elemendid, mis tarnitakse igasse ehituspaika, järgides konkreetset ehitusprotsessi. Karbi alla tehakse paigaldamiseks 3 cm liivapõhi, et tagada ühtlane kontakt ja koormuste ühtlane jaotumine maapinnale.  Mis puudutab tiibseinu, mis ehitatakse kohapeal valatud betoonelementidena, siis need ehitatakse siis, kui truup on valatud ja enne mistahes muldkeha ehitamist.  Enne muldkeha täitmist teostatakse monoliittruubi ja tiibseina tagaküljel kogu hüdroisolatsioon ja drenaažisüsteem. Viitedokumendid  1. Põhiprojekt. Truupide kalkulatsiooni aruanne   RBDTD-EE-DS2-DPS1\_IDO\_ BR0070-ZZ\_0005\_CA\_STR-EK\_MD\_00001   1. Raudteesildade projekteerimise alused. Põhiprojekt   RBDTD-EE-DS2-ZZ\_IDO\_ZZZZ-ZZ\_ZZZZ\_RP\_BR-TS\_MD\_00002   1. KASUTUSTINGIMUSED   Ehitis on projekteeritud vastavalt projekti alusdokumendile [2]. Antud peatüki järgnevates lõikudes on kirjeldatud punkte, mis on nimetatud ehitise koormuste jaoks olulised. Koormused on määratud vastavalt Eurokoodeksitele ja nende Eesti riiklikele lisadele ning Rail Baltica projekteerimisjuhistele. Koormuste normatiivsed väärtusedVertikaalkoormus maanteeliikluse tõttu Vastavalt projekti põhidokumendile [2].  Tee OR0070 truupidel rakenduvad need 9 m laiuse käigutee ulatuses. Vastavalt tehnilistele tingimustele kohaldatakse täiendavalt alljärgnevaid reguleerimistegureid ja erisõidukeid.  Koormusmudel LM1: αQ1 = 1,0; αq1 = 1,0; αQ2 = αQ3 = αqi = αqri = 1,0  Koormusmudel LM2: βQ = αQ1  Koormusmudel LM3: ei rakendata, sest seda ei nõua kohalik omavalitsus   * + 1. Horisontaalkoormus raudteeliikluse tõttu        1. Veo- ja pidurdusjõudude mõjud   Vastavalt projekti alusdokumendile [1], punkt 3.2.3.2. Vt lisa 1, kus nimetatud koormust on kirjeldatud seoses antud konkreetse truubi mudeliga.   * + - 1. Tsentrifugaaljõud   See koormus ei ole truupides lühikese ava tõttu asjakohane, samuti selle väikese suuruse tõttu võrreldes truubi tohutu jäikusega truubi ristlõike suunas toimivate koormuste suhtes. Materjalide omadusedBetooni tugevus ja katted Järgnevates tabelites on määratletud erinevate elementide betoon ja betoonkatted vastavalt mõjutingimustele. Need põhinevad projekti alusdokumendil [2] ja on kohandatud antud ehitise jaoks.   | **BETOONI SPETSIFIKATSIOON VASTAVALT STANDARDITELE EN-1992-1-1, EN 206, EVS-814 ja EVS-EN 206** | | | | | | | | --- | --- | --- | --- | --- | --- | --- | |  | | | | | | | | |  | **Elemendi tüüp** | **Keskkonnaklass** | **fck** | **Min tsement** | **Max vee-sisaldus** | **max osakeste suurus** | | --- | --- | --- | --- | --- | --- | --- | | **(MPa)** | **(kg/m3)** | **(mm)** | | | | | | | | | Lahja betoon | Ei kohaldata | Ei kohaldata | C16/20 | Ei kohaldata | Ei kohaldata | 20 | |  | Tiibseinad | XC4/XD1/XF3 | C35/45 | 340 | 0,45 | 20 | |  | Monteeritav truup | XC4/XD1/XF3 | C35/45 | 340 | 0,45 | 20 |   Betooni spetsifikatsioon vastavalt standarditele EN-1992-1-1, EN 206, EVS-814 ja EVS-EN 206   |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | **BETOONI SPETSIFIKATSIOON VASTAVALT STANDARDITELE EN-1992-1-1, EN 206, EVS-814 ja EVS-EN 206** | | | | | | | |  | **Elemendi tüüp** | **Külma-kindluse klass** | **Struktuuri-klass** | **Kate**  **(mm)** | **Min õhu-sisaldus** | **Muud nõuded** | | **(%)** | | Lahja betoon | Ei kohaldata | Ei kohaldata | Ei kohaldata | Ei kohaldata | - | - | |  | Tiibseinad | KK3-100 | S5 | 50 | - | - | |  | Monteeritav truup | KK3-100 | S4 | 40 |  |  |   Betooni spetsifikatsioon vastavalt standarditele EN-1992-1-1, EN 206, EVS-814 ja EVS-EN 206  Minimaalne katte paksus ettevalmistatud pinnasele valataval betoonil (koos tasanduskilega) on 50 mm ja otse pinnasele valataval betoonil 75 mm.  Tagada tuleb betooni tootmise spetsiaalne kvaliteedikontroll vastavalt standarditele EN 1992-1-1 ja EN 206-2013, näiteks tootmise sertifitseerimisega vastavalt standardile EN 206-2013, lisa C. Betooni tootmise spetsiaalset kvaliteedikontrolli on kaalutud pealisehitises struktuurse klassifikatsiooni jaoks.   1. ÜLEVAATUSE JUHEND  ELEMENTAARSED ÜLEVAATUSED Truupide hoolduse eest vastutav (juriidiline) töövõtja peab ehitise seisukorda pidevalt jälgima ning tuvastama defektid, mille on põhjtanud raudteeliiklus või muud tegurid. Ohu korral tuleb kõik kahjustused märgistada ja kõrvaldada. Vajadusel tuleb struktuursete mõjude vähendamiseks rakendada kiirusepiirangut.  Elementaarne ülevaatus on visuaalne ülevaatus, mida peavad teostama hooldustöötajad, ent mitte tingimata erihoolduspersonal. Sellist tüüpi ülevaatus on kasulik kahjustuste varajaseks tuvastamiseks ja kriitiliste kahjustuste vältimiseks. Lisaks võimaldab see leida elemente, mis nõuavad kiiret hooldust.  Sellist tüüpi ülevaatused tuleb välja töötada raudtee regulaarsete hooldustööde käigus. Regulaarsed ülevaatused Regulaarne ülevaatus on vajalik truupide seisukorra jälgimiseks, nende ohutuse tagamiseks ja kasutamise käigus tekkinud võimalike defektide tuvastamiseks. Ülevaatused peavad vastama raudtee seisundit puudutava kehtiva õigusakti nõuetele ja kehtivatele sildade haldussüsteemi kontrollijuhistele. Hetkel kehtiv dokument on Majandus- ja taristuministri kinnitatud raudteeseadus (RT I 2003, 79, 530).  Ehitaja garantiiperioodi lõppedes tuleb teostada esimene regulaarne ülevaatus ja regulaarsed ülevaatused toimuvad seejärel iga 3 aasta järel. Regulaarne ülevaatus hõlmab visuaalset kontrolli, millega kaasnevad kõik vajalikud mõõtmised või katsetused. Ülevaatuse käigus hinnatakse kogu truubi seisukorda osade kaupa. Truupide regulaarset ülevaatust saab teha koos raudteeliini ja ülejäänud sama lõigu ehitiste kontrollimisega iga kolme aasta järel või arvestades nende ehitiste väiksust ja väiksemaid hooldusvajadusi, võiks omaniku nõusoleku alusel pikendada perioodi 5–6 aastani.  See on kõikide truubi elementide standardne visuaalne ülevaatus. Selle peab läbi viima eritöötaja tehnilise inseneri järelevalve all, kellel on kogemused ülevaatuste ja hoolduse valdkonnas, mis võimaldavad teada, näha ja mõista ehitise vajadusi.  Enne ülevaatust tuleb koostada plaan, mis hõlmab vähemalt järgnevaid punkte:   1. dokumentide hankimine truubi ja varasemate tegevuste kohta, mis on toimunud pärast ehitamist (varasemad ülevaatused, hooldustööd, remonditööd…); 2. dokumentide uurimine ja ülevaatuse aruande koostamine. See aruanne puudutab konkreetselt truubi erinevaid elemente. See tuleks koostada enne kohapealseid töid, et teada ülevaatamisele kuuluvate elementide hulka ja organiseerida protsessi teostamist; 3. lisamaterjalide ettevalmistamine truubi kõigi elementide nõuetekohase ülevaatuse teostamiseks (treppredel juurdepääsuks betoonseintele või võlvile, turvavööd kalletel ohutuks töötamiseks…).   Nõutav on regulaarne ülevaatuse aruande koostamine, milles fikseeritakse truubi konstruktsioonielementide seisukord. Ülevaatuse protseduuri ja aja määrab ehitise omanik. See peab olema süstemaatiline ja organiseeritud protsess, et tagada ehitise iga elemendi kontroll.  Aruanne peab sisaldama piisavalt fotodokumente, et võimaldada kahjustusi ja riske nõuetekohaselt mõista. Lisaks sellele tuleb mõõta ehitise nihkeid või vajumist, et võrrelda neid varasemate ülevaatuste tulemustega, võttes arvesse ilmastiku mõjusid. Selleks tuleb paigutada truubile ja sellest väljapoole kontrollpunktid edasiste tööde jaoks. Lisaks sellele tuleb mõõta ehitise geomeetrilisi omadusi (seinte vertikaalsus, seinaotste vahelised kaugused…).  Iga ülevaatuse käigus tuleb kontrollida vähemalt järgnevaid punkte:   1. truubi vertikaalprojektsioonid; 2. truubi üldpaigutus (vaated ülalt ja alt); 3. kõik toed või seinad (seinad, tiibseinad...); 4. vuukide seisukord. (Antud juhul ehituslikud liitekohad karkassi ja tiibseinte vahel ning monteeritavate kastmoodulite vahel); 5. kriitiliste lõikude mõranemine.   Kõik kahjustused tuleb põhjuste kindlakstegemiseks hoolikalt fikseerida. Võimaluse korral tuleb truubi ülevaatust teostada käitamise ajal, et kontrollida vibratsiooni või ulatusliku deformatsiooni esinemist. Erinevate elementide kahjustusseisundite võrdlemiseks tuleb kasutada numbrilisi näitajaid, kusjuures vastavad kriteeriumid peavad jääma kõikide tulevaste ülevaatuste jaoks muutumatuks. See võimaldab hinnata tuvastatud kahjustuste kiire kõrvaldamise vajadust ja nende tähtsust ülejäänud elementide seisukohast.  Hoolduse eest vastutav (juriidiline) töövõtja peab teostama kõik vajalikud mõõtmised ehitise tegeliku seisukorra täielikuks kirjeldamiseks. Hooldustööde planeerimiseks on vajalik põhjalik suhtlus kliendiga. Korraldada tuleks klientide ja ülevaatuse teostajate koosolekuid, et kõrvaldada kahtlusi ja mõista ülevaatuste tulemusi.  Truubi olulise muudatuse korral tuleb läbi viia uus algülevaatus. Kui algülevaatuse käigus tuvastatakse mistahes kahjustus või anomaalia, mis mõjutab truubi struktuurset terviklikkust või üldist kasutust, tuleb läbi viia eriülevaatus. Geomeetria Arvestades eeldatavate deformatsioonide väga väikseid väärtusi, ei ole deformatsioone antud juhul vaja mõõta. Sellest teatatakse, kui truubi elementide mis tahes nihkumine tuvastatakse elementide vajumise, pöörlemise või deformatsiooni tõttu. Juurdepääs Kontrollida tuleb mõlema juurdepääsu seisukorda. Kõikidest vajumistest, läbipainetest või kahjustustest siirdeplokis tuleb teatada nii, nagu kirjeldatud eespool. Oluline on kontrollida truubi juurdepääse, kaldeid, drenaaži, juurdepääsu hooldusteele jne. Vundamendid Kontrollida tuleb kõikide vundamentide seisukorda (kõikide truupide puhul). Tiibseintes tuleb kontrollida mõrade, läbipainete või deformatsiooni esinemist, mille on põhjustanud igapäevane kasutamine. Betooni kontrollimisel tuleb erilist tähelepanu pöörata sarrusevarraste kattele ja korrosioonile.  Tavaliselt puudub nendele elementidele juurdepääs, mistõttu saab võimalikke kahjustusi tuvastada ainult väliste nähtavate märkide kaudu teistes truubi elementides nagu näiteks seintes või võlvis (suured nihked, vajumine, deformatsioon, praod…). Seinad Kontrollida tuleb nii betooni kui ka sarrusevarraste seisukorda. Kõige olulisemad asukohad on põhiotsaseinte üla- ja alaosad.  Nagu märgitud eelmises punktis, võib nendest elementidest hangitud teave anda teavet vundamendi seisukorra kohta. Nende elementide nõuetekohane uurimine on oluline, et mõista rajatise üldist olukorda. Katteplaat Konstruktsioonbetoonis tuleb kontrollida pragude esinemist, veekahjustusi või ebapiisavat äravoolu. Igast nähtaval olevast sarrusevardast tuleb viivitamatult teatada. Truup peab vastama sarrusekatte miinimumnõuetele ja vältida tuleb varraste korrosiooni.  Kõikidest katteplaadi kahjustustest tuleb teatada ja nende põhjused tuleb välja selgitada. Oluline on kindlaks määrata võimalikud vertikaalsed ja horisontaalsed nihked ning muutused võrreldes varasemate ülevaatustega. Struktuuriliited Kõiki struktuuriliiteid tuleb kontrollida, võttes arvesse liitekoha tüüpi, terviklikkust ja kinnitusvõimet. Nende nihketugevus peab olema piisav, et tagada vastavus konstruktsioonilahenduses näidatud piiridele. Teostada tuleb kõik nihkemõõtmised, näidates ära kohapealse temperatuuri.  Antud juhul, kuna ehitis on monteeritav betoonkarp, on monteeritavate elementide vahel konstruktsiooniliited. Kontrollida tuleb konstruktsiooniliiteid ja ühendusi põhiseinte ja tiibseinte vahel. Nendes liitekohtades võib kasutada hüdroisolatsiooniühendit (polüuretaanist elastne tihend) või muud sarnast materjali, mis tagab liitekoha liikuvuse kuni 5 mm. Tööde teostamisel tuleb järgida kehtivaid raudtee hoolduse nõudeid ja tootja kvaliteedinõudeid. Signalisatsioon Kontrollida tuleb vertikaalse signalisatsiooni olemasolu maanteeligipääsudes truupidele ja raudteeperroonil ning kõiki selle terviklikkust mõjutada võivaid kahjustusi. Eriülevaatused Kui üldiste või regulaarsete ülevaatuste käigus tuvastatakse ohtlikke defekte, tuleb viivitamatult läbi viia eriülevaatus vajaliku avarii- või tavaremondi planeerimiseks.  Need ülevaatused ei ole planeeritud ja nende vajadus tuleneb vajadusest kontrollida täpsemalt kahjustusi, mis on tuvastatud regulaarse ülevaatuse käigus või tekkinud konkreetse olukorra tagajärjel (loodusõnnetus, rööbastelt mahasõit, liiklusõnnetus vm). Neid peavad läbi viima tehnikud ja eripersonal.  Eriülevaatuse korral ei piisa visuaalsest kontrollimisest. Tehnikud peavad teostama kõik vajalikud katsetused ja mõõtmised, et tagada kahjustuse täpne kirjeldus. See ülevaatuse tase nõuab eelneva detailse plaani koostamist ja kõikide kasutatavate tehnikate aspektide uurimist.  Vajalik on tulemuste aruanne, et määratleda probleem ning hinnata kahjustusi ja koostada remondiprojekt. Ülevaatuse tulemusedÜlevaatusakt Kõik ülevaatuse käigus saadud tulemused tuleb fikseerida ülevaatusaktis. Andmed tuleb fikseerida kohapeal ülevaatuse protsessi käigus, kaasa arvatud kõik vajalikud fotodokumendid, mis võimaldavad probleemi, selle seisundit ja asukohta täielikult hinnata. Meetmed Hoolduse eest vastutav (juriidiline) töövõtja peab järgima kehtivaid eeskirju vastavalt ülevaatusaktis märgitud tulemustele.  Kõik tähelepanekud peavad sisalduma allpool loetletud rühmades vastavalt kliendi juhistele. Rakendada tuleb vähemalt allpool toodud parandusmeetmeid:   1. minimaalsed kahjustused: teostada tuleb hooldustööd; 2. kahjustus, mis ei mõjuta truupide tööseisukorda ning on ilmnenud kahe regulaarse ülevaatuse vahelisel ajal: algatada tuleb regulaarne ülevaatus; 3. kahjustused, mis võivad mõjutada truupide tööseisukorda ohtlikult või kriitiliselt: algatada tuleb eriülevaatus.  ÜLEVAATUSE MEETOD JA VAHENDID Selles osas on määratletud praktiline ülevaatusmeetod nii ehitise põhielementide kui ka püsiseadmete jaoks, mis peavad olema kontrollimiseks juurdepääsetavad. Igal juhul tuleb lõplik metoodika ja seadmestik määratleda hooldusjuhendis, mille peab ehituse lõppedes esitama töövõtja või hooldustööde eest vastutav juriidiline isik.  Antud juhul koosneb ehitis monteeritavatest kastmoodulitest, mis tähendab, et selle deformatsioonivuugid tuleb üle kontrollida. Telekommunikatsiooni- ega toitekaableid ei ole ette nähtud.   * Seega on ehitise ülevaatust vajavateks põhielementideks ülemine plaat, seinad ja tiibseinad ning vuukide seisukord. * Ülevaatus algab maapinna tasemelt, kus teostatakse esmane visuaalne ülevaatus. Teades, et kõrgus maapinnast katteplaadi alumise pooleni jääb vahemikku 1,5–2,5 m, ei peeta seinte ülemise osa ja katteplaadi hoolikaks ülevaatuseks peale käsitrepi muud püsivat juurdepääsu võimaldavat seadmestikku vajalikuks.  1. HOOLDUSJUHEND   Truup on projekteeritud minimaalse hooldusvajadusega. Siiski tuleb ehitise püsivuse tagamiseks läbi viia regulaarne hooldus kaks korda aastas – kevadel ja sügisel. Raudteeperroonilt ja madalama tasandi drenaažist tuleb eemaldada mustus ja takistused. Talvel tuleb drenaaži lumest ja jääst puhastada. Truupidele ei tohi lisaraskuse ja raudteeperrooni laiuse funktsionaalse vähenemise tõttu ladustada lund üheski truubi osas. Ülevaatusi tuleb teostada nii, nagu kirjeldatud eespool. Kõikide meetmete teostamisel peab hoolduse eest vastutav (juriidiline) töövõtja järgima kliendi juhiseid ja ettenähtud parandusmeetmeid (vt käesoleva dokumendi punkti „3.4.2 Meetmed“).   | **Element** | | **Keskkonna-klass** | **fck [MPa]** | **Tööiga [aastad]** | **Näidustused hoolduse ja meetmete teostamiseks** | | --- | --- | --- | --- | --- | --- | | Lahja betoon | | Ei kohaldata | C16/20 | 100 | Jooksev hooldus. Vt punkti „4.3 Muud struktuurielemendid”. | | Vundamendid | Taldmik-vundamendid | XC4; XD1; XF3 | C35/45 | 100 | Jooksev hooldus. Vt punkti „4.3 Muud struktuurielemendid”. Pragude korral järgige spetsialistide juhiseid. | | Pealisehitis | Seinad ja tiibseinad | XC4; XD1; XF3 | C35/45 | 100 | Jooksev hooldus. Vt punkti „4.2 Peamised tugielemendid”. Pragude korral järgige spetsialistide juhiseid. | | Katteplaat | XC4; XD1; XF3 | C35/45 | 100 | Jooksev hooldus. Vt punkti „4.3 Muud struktuurielemendid”. Pragude korral järgige spetsialistide juhiseid. | | Drenaaž | | XC4; XD1; XF3 | C35/45 | 100 | Jooksev hooldus. Vt punkti “4.1. Vee äravoolud”. | | Hüdroisolatsioonimaterjal | | Vastavalt heaks kiidetud materjalile | Vastavalt heaks kiidetud materjalile | 25 | Vt. punkti „4.5 Hüdroisolatsioonimaterjal“ ja meetmed vastavalt tootja juhistele. |   Ehitise põhielemendid Vee äravoolud Truubid on mõeldud raudtee kuivendamiseks.  Raudtee on projekteeritud muutuva pikikaldega ning alusballastil on põikkalle 2,0%, et juhtida vihmavesi külgedele ja rajatisest välja. Ehitise vähendatud mõõtmeid arvestades pole konkreetsel kõnealusel juhul piigarteid vihmavee kogumiseks pinnalt vaja.  Seinte tagakülg sisaldab äravoolusüsteemi torudega vee kogumiseks perroonilt.  Jooksva hoolduse käigus peab (juriidiline) töövõtja kontrollima drenaaži seisukorda ning veenduma, et vee sisselaskeavad pole blokeeritud, et tagada süsteemi nõuetekohane toimimine. Peamised tugielemendid Peamisi tugielemente, antud juhul tugiseinu ja katte-/alumist plaati, peab hoolduse eest vastutav (juriidiline) töövõtja kontrollima jooksva ülevaatuse käigus, nagu kirjeldatud punktis “3.2 Regulaarsed ülevaatused”. Elementide ülevaatuse käigus tuleb kontrollida pragusid ja läbipainet. Nagu märgitud punktis “3.2.4 Seinad”, tuleb kontrollida nii betooni kui ka sarrusevarraste seisukorda. Kõige olulisemad asukohad on tugielementide üla- ja alaosad. Kriitiliste kahjustuste tuvastamisel tuleb läbi viia põhjalik eriülevaatus ja teostada viivitamatult remont. Muud struktuurielemendid Igal kevadel tuleb teostada nähtavate elementide survepesu, et eemaldada mustus kõikidelt konstruktsiooni pindadelt, mida pole eelmistes lõikudes käsitletud (katteplaadi lagi, vundament, tiibseinad...). Survetöötlus tuleb teostada madala survega (kuni 50 bar).  Kõiki struktuurielemente peab hoolduse eest vastutav (juriidiline) töövõtja kontrollima jooksva ülevaatuse käigus, nagu kirjeldatud punktis “3.2 Regulaarsed ülevaatused”. Elementide ülevaatusel tuleb tähelepanu pöörata pragudele või pindmistele kahjustustele betoonis ning mõõta läbipainet. Kontrollida tuleb nii betooni kui ka sarrusevarraste seisukorda. Kriitiliste kahjustuste tuvastamisel tuleb läbi viia põhjalik eriülevaatus ja teostada viivitamatult remont. Kaldekaitse Koonuste ja kallete kaitset peab kontrollima hoolduse eest vastutav (juriidiline) töövõtja. Registreerida tuleb pindade seisukord, pöörates erilist tähelepanu nende vajumisele ja võrdlusele esialgse geomeetriaga. Igasugune kalde terviklikkust mõjutav taimkate tuleb eemaldada. Veekindel hermeetik Pärast mustuse eemaldamist kevadel tuleb üle kontrollida kõik struktuursed ühendused, arvestades ühenduse tüüpi, terviklikkust ja hermeetilisust. Veekindla hermeetikuna on soovitatav kasutada elastset polüuretaantihendit või muust sarnasest materjalist tihendit.  Tööde teostamisel tuleb järgida raudteede hooldusele kehtestatud spetsifikatsioone ja tootjapoolseid kvaliteedinõudeid konstruktsiooniliidetes kasutatud materjali hooldamiseks. | TABLE OF CONTENTS  [1. GENERAL INFORMATION 4](#_Toc169523349)  [1.1 INTRODUCTION AND SCOPE 4](#_Toc169523350)  [1.2 STRUCTURE DESCRIPTION 4](#_Toc169523351)  [1.3 REFERENCE DOCUMENTS 4](#_Toc169523352)  [2. TERMS OF USE 5](#_Toc169523353)  [2.1 CHARACTERISTIC VALUES OF LOADS 5](#_Toc169523354)  [2.2 CHARACTERISTIC OF MATERIALS 5](#_Toc169523355)  [3. INSPECTION GUIDE 6](#_Toc169523356)  [3.1 BASIC ROUTINE INSPECTIONS 6](#_Toc169523357)  [3.2 REGULAR INSPECTIONS 6](#_Toc169523358)  [3.3 SPECIAL INSPECTIONS 9](#_Toc169523359)  [3.4 INSPECTION RESULTS 9](#_Toc169523360)  [3.5 METHOD OF INSPECTION AND EQUIPMENT 9](#_Toc169523361)  [4. SERVICE MANUAL 10](#_Toc169523362)  [4.1 WATER DRAINS 11](#_Toc169523363)  [4.2 MAIN SUPPORT ELEMENTS 11](#_Toc169523364)  [4.3 OTHER STRUCTURAL ELEMENTS 11](#_Toc169523365)  [4.4 SLOPE PROTECTION 11](#_Toc169523366)  [4.5 WATERPROOFING SEALANT 11](#_Toc169523367)   |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | 1. GENERAL INFORMATION    1. Introduction and scope   The purpose of this document is to generate an operation and maintenance guide for the culverts and small size animal crossings, which support Rail Baltica railway traffic. This document will be provided to Rail Baltica and the (legal) contractor responsible of the railway maintenance. The final operation and maintenance manual must be provided at the end of the installation in addition of a supplementary manual specifying the products and materials approved for the construction of the culverts and animal crossings.  The structure will be located in the section Ülemiste-Kangru (DS2-DPS1) of the Rail Baltica railway line from Tallinn to Rapla.   * 1. STRUCTURe description      1. General   There is a total of 1 culvert in the stretch of Tallin-Lagedi Crossing for water and animal crossings. These crossings are all orthogonal or quasi-orthogonal to the road line and will grant the support of the roads that run over it. The chainage position and dimensions of each of these culverts are detailed in the table below:   |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | **CODE MD** | **DP Station** | **Description** | **Width (m)** | **Height (m)** | **Thickness [m]** | **Length (m)** | | CU037082 | 4+063 | CULVERT + ANIMAL CROSSING | 4.00 | 2.00 | 0.35 | 15.00 |   Structures descriptions  The structural solution for the culvert is a precast box section. The internal free dimensions of this culvert is 4,00x2,00m. At both ends of the culvert there are wingwalls to contain the earthwork of the railway line.  Therefore, two main elements can be distinguished in this structure: the precast box sectioned culvert and the wingwalls at the end. The design life of the culverts and animal crossings is 100 year.   * + 1. Construction process   The box culverts are planned to be precast elements to be delivered at each location, following this specific construction process. A 3cm sand-base will be placed under the box structure for placement to ensure even contact and uniform distribution of the loads to the terrain base.  Regarding the wingwalls, which are expected to be built as in situ concrete elements, they will be constructed once the culvert is casted and previous to any embankment execution.  Before any embankment fill work all the waterproofing and drainage system in the backside of the frame modules and wingwall will be executed.   * 1. Reference documents  1. Master Design Culvert Calculation report.   RBDTD-EE-DS2-DPS1\_IDO\_ BR0070-ZZ\_0005\_CA\_STR-EK\_MD\_00001   1. Railway bridges design basis. Master design.   RBDTD-EE-DS2-ZZ\_IDO\_ZZZZ-ZZ\_ZZZZ\_RP\_BR-TS\_MD\_00002   1. TERMS OF USE   The structure is designed according to the design basis document [2]. In the following paragraphs of this section, the particularized points of the traffic loads for this structure are included. The loads are defined according to the Eurocodes with the Estonian National Annexes, and Rail Baltica design guidelines.   * 1. Characteristic values of loads      1. Vertical loads due to railway traffic   For culverts on access roads, they are applied in a carriageway width of 6 m. Additionally, according to technical conditions, the following adjustment factors and special vehicles are applied:   * Load model LM1: αQ1 = 0,8; αq1 = 0,8; αQ2 = αQ3 = αqi = αqri = 0,8 * Load model LM2: βQ=αQ1 * Load model LM3: Not applied as not required by local administration   + 1. Horizontal loads due to rail traffic        1. Actions due to traction and braking   According to the design bases document [1], section 3.2.3.2. Refer to Annex 1 where this load is particularized for this specific culvert model.   * + - 1. Centrifugal forces   This load is not relevant in culverts due to the short span, and its low magnitude compared to the huge stiffness of the culvert against these loads that act in the direction of the culvert cross section.   * 1. Characteristic of materials      1. Concrete strength and covers   In the following tables, it is defined the concrete for the different elements and the concrete covers according to the exposure conditions. They are based on design basis document [2] and particularized for this structure.   | **CONCRETE SPECIFICATION ACCORDING TO EN-1992-1-1, EN 206, EVS-814 and EVS-EN 206** | | | | | | | | --- | --- | --- | --- | --- | --- | --- | |  | | | | | | | | |  | **Element type** | **Exposure class** | **fck** | **Min. Cement** | **Max. w/c** | **max. aggregate size** | | --- | --- | --- | --- | --- | --- | --- | | **(MPa)** | **(kg/m3)** | **(mm)** | | | | | | | | | Lean Concrete | N/A | N/A | C16/20 | N/A | N/A | 20 | |  | Wingwalls | XC4/XD1/XF3 | C35/45 | 340 | 0,45 | 20 | |  | Precast culvert | XC4/XD1/XF3 | C35/45 | 340 | 0,45 | 20 |   Concrete specification according to EN-1992-1-1, EN 206, EVS-814 and EVS-EN 206   |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | **CONCRETE SPECIFICATION ACCORDING TO EN-1992-1-1, EN 206, EVS-814 and EVS-EN 206** | | | | | | | |  | **Element type** | **Frost Resistance class** | **Structural class** | **Cover**  **(mm)** | **Min. Air content** | **Other requirements** | | **(%)** | | Lean Concrete | N/A | N/A | N/A | N/A | - | - | |  | Wingwalls | KK3-100 | S5 | 50 | - | - | |  | Precast culvert | KK3-100 | S4 | 40 |  |  |   Concrete specification according to EN-1992-1-1, EN 206, EVS-814 and EVS-EN 206  Minimum cover for concrete cast against prepared ground (including blinding) shall be 50 mm and for concrete cast directly against soil 75 mm.  Special quality control of concrete production shall be ensured according EN 1992-1-1 and EN 206-2013, for example by certification of the production control according to EN 206-2013, Annex C. Special quality control of the concrete production has been considered in the superstructure for the structural classification   1. INSPECTION GUIDE    1. BASIC ROUTINE Inspections   The (legal) contractor responsible of the maintenance of the culverts shall continuously monitor the structure condition and identify defects caused by railway traffic or other agents. All damages shall be marked and fixed in the event of danger. If necessary, a speed limit has to be applied to reduce the structural influence.  A basic routine inspection is a visual review in which maintenance workers, not necessarily specialized maintenance structural staff, are necessary. This type of inspection is useful for early detection damages and to prevent critical damage. Also, it allows to find the areas that need urgent maintenance.  This type of inspections is to be developed during the routine maintenance labours of the railway.   * 1. Regular inspections   Periodic inspection is required to monitor the condition of the culverts, to ensure its safety and to detect any defects produced during use. The inspections have to comply with the valid legal act for rail condition requirements and the valid inspection manual for the bridge management system. Currently valid document is approved by the Minister of Economic Affairs and Infrastructure, Railway Act (RT I 2003, 79, 530).  At the end of the builder´s warranty period, a first regular inspection has to be done, and regular inspections will take place every 3 years thereafter. The regular Inspection will consist in a visual recognition which will be complemented with any necessary measurement or test. During the inspection, the condition of the entire culvert shall be assessed in parts. Regular inspection of culverts can be done together with the inspection of the railway line and the rest of the structures in the same section every 3 years, or given the small size and reduced maintenance requirements for these structures the period could be extended to 5-6 years based on the Owner’s approval.  This is a standard visual inspection of all the elements of the culvert. It needs to be done by a specialized worker under the supervision of a structural engineer with experience in inspection and maintenance field to know, see and understand which are the needs of the structure.  Previously to the inspection, it is needed a planification that includes, at least, the following points:   1. Obtain of historical documentation of the culvert inventory and previous actions that took place after the construction (previous inspections, maintenance works, reparations…). 2. Study the documentation and preparation of an inspection report. This report is specific to the different elements of the culvert. Its preparation is recommended before site works to understand the number of elements to be reviewed and organize the process. 3. Preparation of the additional materials to proper inspect all the elements of the culvert (hand-stair to access concrete walls or slab soffit, harness to safely work at the slopes…).   A regular inspection report will be required in which the condition of the structural elements of the culvert shall be fixed. The procedure and time of the inspection shall be determined by the owner of the structure. It must be a systematic and organized process to verify that every element of the structure has being inspected.  The report has to include enough photographic documentation to allow a proper understanding of the damage and the risk status. Also, it is recommended to measure the displacements or settlements of the structure to compare it with previous inspections, taking in consideration the climate effects. To allow this, it is recommended to place reference points on the culvert and outside it for future works. It is also recommended to measure the geometrical characteristics of the structure (walls verticality, distances between wall ends…).  Every inspection has to verify, at least, the following points:   1. Culvert main elevations views. 2. Culvert general layout (top and bottom views). 3. Every support or wall (walls, wing walls…). 4. Status of the joints. (In this case construction joints, between frame and wing walls and between precast box modules). 5. Cracking of critical sections.   Any damage has to be carefully reported to allow finding its causes. If possible, the culvert has to be inspected during operation, to verify the existence of vibrations or excessive deformations. To compare the status of deterioration of the different elements, it is recommended to use a numerical indicator, which criteria is to remain without variation for all future inspections. This will allow to understand the urgency of the found damages and its importance in relation with the rest of the elements.  The (legal) contractor responsible of the maintenance has to do all necessary measurements to fully describe the actual status of the structure. Full communication with the Client is needed to plan the maintenance works. It is recommended to have a meeting between them and site inspectors to clarify doubts and to understand the inspection results.  If an important modification affects the culvert, a new initial inspection must take place. If any damage or anomaly that will affect the structural integrity or the common use of the culvert is found during initial inspection, a special inspection has to be requested.   * + 1. Geometry   Given the very small values of deformations expected, the deformations are not to be measured in this case. It will be reported if any misalignment of the culvert elements is detected due to settlements, rotations or deformations of elements.   * + 1. Access   The status of both railway accesses has to be verified. Any settlement, deflection or damage in the transition block has to be reported as previously indicated. It is important to review the accesses of the culvert, the slopes, the drainage, the access to the service path, etc.   * + 1. Foundations   The status of all the foundations (for all the culverts) has to be inspected. Wingwalls have to be checked looking for cracks, deflections or deformations produced by daily use. Concrete has to be reviewed with special care in the rebar cover and corrosion status.  Usually these elements are not accessible, what allows the appearance of possible damage that only could be detected trough external visible signs in other elements of the culvert as the walls or top slab (excessive displacements, settlements, deformations, cracks…).   * + 1. Walls   Both concrete and rebars status have to be verified. Most important locations are the top and bottom of the main end walls.  As indicated in previous point, the information obtained from these elements can give information about the foundation’s status. Proper study of these elements is important to understand the global situation of the structure.   * + 1. Top slab   Structural concrete has to be reviewed looking for cracks, damage from water or insufficient drainage. Any exposed rebar has to be reported urgently. The culvert must comply with the minimum rebar cover and avoid their corrosion.  Any damage in the top slab must be reported identifying its causes. It is important to define the vertical and horizontal displacements, if any, and the variation from previous inspections.   * + 1. Structural joints   All the structural joints have to be inspected taking in consideration the type of joint, its integrity and its sealant capacity. Their displacement capacity has to be enough to comply with allowance indicated in structural design. Every displacement measure has to be done indicating site temperature.  In this specific case as the structure is a precast concrete box, there are structural joints between the precast elements. Construction joints and joints between the main walls and wing walls are to be inspected. In these joints a waterproofing compound (polyurethane elastic seal) or similar material can be used, which provides a joint mobility of up to 5 mm. When carrying out the work, follow the applicable railway maintenance specifications and the manufacturer's quality requirements.   * + 1. Signalization   Check the existence of vertical signalization in the road accesses to the culverts, as well as on the railway platform, and any damage that may affect their integrity.   * 1. Special inspections   If dangerous defects are detected during routine or periodic inspections, a special inspection shall be carried out immediately to plan the necessary emergency or routine repairs.  These inspections are not planned and their need comes from the need of a more detailed review of a damage detected in a regular inspection or as a consequence of a special situation (natural disaster, derailment, vehicle collision…). They need to be done by technicians and special teams.  During the special inspection a visual exam is not enough. Technicians have to do all necessary test and measures to ensure a proper description of the damage. This level of inspection needs a previous detail plan and to study all the aspects of the techniques to be used.  A result report will be needed to define the issue and to evaluate the damage and the reparation project.   * 1. Inspection results      1. Inspection report   All the results obtained during the inspection must be included in the report. The data has to be indicated at site during inspection process, including all necessary photographic documentation to allow fully understand of the issue, its status and location.   * + 1. Intervention   The (legal) contractor responsible of the maintenance has to follow applicable codes in concordance with the results of the inspection report.  Any observation has to be included in below listed groups, following Client indications. At least, below proposed rectifications have to be applied:   1. Minimum damage: maintenance works have to take place. 2. Damage that doesn´t affect culverts working status and that appeared during the time between two regular inspection. A regular inspection has to be requested. 3. Damage that can affect the culverts working status, both danger or critic. A special inspection has to be requested.    1. METHOD OF INSPECTION AND EQUIPMENT   A practical method for inspection is identified in this section for the main elements of the structure, as well as the permanent equipment required for inspection access. In any case the final methodology and equipment shall be defined in the maintenance manual to be provided by the contractor at the end of construction or by the legal responsible of the maintenance works.  In this case the structure is composed by precast box modules meaning it has expansion joints to be inspected. No telecommunication or power supply cables are foreseen.   * The main elements for inspection of the structure are then the top slab, the walls and the wingwalls, and the status of the joints. * Inspection is done from the ground level for a first visual inspection. Given that the height from the ground level to the top slab soffit varies from 1.5-2.5 m no permanent access equipment is considered necessary beyond hand stairs to thoroughly inspect the highest parts of the walls and top slab.  1. SERVICE MANUAL   The culverts are designed to require minimal intervention. However, in order to ensure the longevity of the structure, regular maintenance is required twice a year - in spring and autumn. Both the railway platform and the lower level drainage must be kept clear of dirt and obstructions. In winter, the drainage must be cleaned of snow and ice. Storage of snow on the culverts is not permitted in any part of the culvert due to the additional weight and to the functional reduction of the railway platform width. Inspections must be done as indicated above. Any intervention to be done by the (legal) contractor for the maintenance has to follow Client indications and proposed rectifications (please refer to article ‘3.4.2 Intervention’ of this document).   | **Element** | | **Exposure class** | **fck [MPa]** | **Operating life [Years]** | **Indications for maintenance and intervention** | | --- | --- | --- | --- | --- | --- | | Lean Concrete | | N/A | C16/20 | 100 | Current maintenance. Refer to article “4.3 Other structural elements”. | | Foundations | Spread foundations | XC4; XD1; XF3 | C35/45 | 100 | Current maintenance. Refer to article “4.3 Other structural elements”. In case of crack, follow specialist indications. | | Superstructure | Walls & Wingwalls | XC4; XD1; XF3 | C35/45 | 100 | Current maintenance. Refer to article “4.2 Main support elements”. In case of crack, follow specialist indications. | | Top slab | XC4; XD1; XF3 | C35/45 | 100 | Current maintenance. Refer to article “4.3 Other structural elements”. In case of crack, follow specialist indications. | | Drainage | | XC4; XD1; XF3 | C35/45 | 100 | Current maintenance. Refer to article “4.1. Water drains”. | | Waterproofing sealant | | As per approved material | As per approved material | 25 | Refer to article “4.5 Waterproofing sealant” and intervention as per manufacture indications. |   Main elements of the structure   * 1. Water Drains   The culverts are meant to be a drainage utility for the railway.  The railway track is designed with a variable longitudinal gradient, and the sub-ballast has a crossfall of 2.0% to drain rainwater off to the sides and out of the structure. Given the reduced dimensions of the structure it is considered no scuppers are necessary to collect the rainwater from the surface in this specific case.  The back side of the walls will include the drainage system with slotted pipes to collect the water from the platform.  During current maintenance, (legal) contractor has to take care of the status of the drainage, making sure that water entrances are not obstructed for the well operation of the system.   * 1. Main support elements   Main support elements as the support walls and top/bottom slabs in this case, must be checked by (legal) contractor for maintenance with current inspections as indicated in article “3.2 Regular inspections”. The review of the elements has to look for structural cracks and deflection measure. As indicated in article “3.2.4 Walls”, both concrete and rebars status have to be verified. Most important locations are the top and bottom of the support elements. If any critical damage is found, a more detailed special inspection must be done and immediate repair will be required.   * 1. Other structural elements   Every spring, a pressure wash for visible elements must be done to remove dirt over all structure surfaces not included in the previous sections (top slab soffit, foundation, wingwalls…). Pressurize at low pressure (up to 50 bar).  All the structural elements must be checked by (legal) contractor for maintenance with current inspections as indicated in article “3.2 Regular inspections”. The review of the elements has to look for structural cracks, or superficial damage in concrete, and measure deflections. Both concrete and rebars status have to be verified. If any critical damage is found, a more detailed special inspection must be done and immediate repair will be required.   * 1. Slope protection   Cones and slopes protection must be inspected by (legal) contractor for maintenance. The status of the surface has to be reported, taking special attention on their sinking and comparing with their initial geometry. Any vegetation affection the slope integrity must be removed.   * 1. waterproofing sealant   After the removal of the dirt in the spring season, all the structural joints have to be inspected taking in consideration the type of joint, its integrity and its sealant capacity. A polyurethane elastic seal or similar material is expected to be used as waterproofing sealant.  When carrying out the work, follow the applicable railway maintenance specifications and the manufacturer's quality requirements for the maintenance of the material used in the structural joints. | |